## Instructions
Instructions
Respondents are requested to populate the following tabs in this spreadsheet:
Response (as required by clause 3.11B.7 of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised blue text is provided to guide participants as to the expected content where relevant.
Western Power is interested in exploring enhanced participation, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities. This may be indicated as an alternate offer.
NCESS Service Specification (as required by clause 3.11B.9(a)ii of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
The Service Specification tab includes all paragraphs in the provided Service Specification except sections:
|  |  | 1 | Introduction
|  |  | 4 | General
|  |  | 5 | Payment
|  |  | 6 | Selection Criteria
Respondents should provide:
• Compliance indication (Y/N) to demonstrate where the respondent is able to comply with the Service Specification
- Please indicate N/A where the paragraph does not apply to the type of technology or equipment
• Quantity (as relevant) to indicate the quantity offered
• Details, to indicate further information relevant to the submission
• Supporting Documents, to reference any supporting documentation provided by the respondent in their response
Pricing (as required by clause 3.11B.9(a)iii of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised text is provided to guide participants as to the expected content where relevant.
Submission
Responses must be submitted to Western Power using the online collection form.
by 5:00pm AWST on 19 March 2026. Extension cannot be considered.
To be valid, responses must include:
The populated NCESS EOI Submission Form - SWIS Network Support (.xlsx)
Any supporting documentation

## Response
Item | Clause | Request | Response | Guidance Notes
1 | 3.11B.7(a) | The name and type of facility or equipment, and whether it is registered or intending to be registered under the ESM Rules
2 | 3.11B.7(b) | The name of the Market Participant, or service provider, as applicable, in respect to the facility or equipment
3 | 3.11B.7(c) | The quantity of service the facility or equipment will provide for the NCESS |  | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification. A prospective NCESS provider may offer a network support service, that can fully or partially meet the relevant service requirements.
4 | 3.11B.7(d) | The timing and duration of the service availability for the NCESS |  | Respondents should identify any limits that may apply to their Facility in complying with the period specified in the Service Specification.
5 | 3.11B.7(e) | The location of the facility or equipment on the network
6 | 3.11B.7(f) | Any operational requirements or limitations that must be respected for use of the facility or equipment for the NCESS
7 | 3.11B.7(g) | Where the NCESS Submission is made in respect to a type of technology that would ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it will be able to meet the relevant requirements in clause 4.10.1 in respect of each Reserve Capacity Cycle that the Facility would be eligible to participate in over the period of the NCESS Contract |  | Whether the Market Participant or service provider, as applicable, intends to participate in the Reserve Capacity Cycle; and if so, relevant information on steps taken in preparation for that application.
8 | 3.11B.7(gA) | Where the NCESS Submission is made in respect to a type of technology that would not ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it is not able to meet the relevant requirements of clause 4.10.1.
9 | 3.11B.7(h) | Whether the facility or equipment participates, or will participate, in Central Dispatch or is accredited or will be accredited under these ESM Rules to provide an Essential System Service
10 | 3.11B.7(i) | the fixed costs for that facility or equipment applicable for the period of the NCESS Contract, including any Capacity Credit payments expected or received |  | Respondents should provide a price per year to be available in accordance with the Service Specification
11 | 3.11B.7(iA) | if the facility or equipment would ordinarily be capable of being assigned Certified Reserve Capacity, whether the Market Participant or service provider would require any reimbursement for any reduction in a Reserve Capacity settlement amount determined for it under clause 9.8.2 that is a direct consequence of the enablement or dispatch of the NCESS; |  | Western Power expects respondents to include all costs in items 10 and 12.
12 | 3.11B.7(j) | The highest price at which the facility or equipment will provide the NCESS when enabled or dispatched
13 | 3.11B.7(k) | Any other payment that the facility or equipment requires to provide the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
14 | N/A | Evidence to support NCESS delivery dates |  | Failure to provide this information will result in exclusion from the evaluation process. For existing facilities/equipment: Please confirm the date it will be ready to provide the service in accordance with the Service Specification. For new projects/facilities/equipment: Please provide project delivery details, including a Gantt chart (or equivalent schedule), and the key milestones required to achieve Commercial Operations, land acquisition (leasing, purchase, MOU, etc), including evidence of when the facility/equipment will be connected to the network. In all cases, please identify any material risks and opportunities associated with your proposed delivery and service commencement, and state the key assumptions underpinning your schedule, milestones, and readiness/availability commitments. For Virtual Power Plant (VPP), please provide your recruitment programme to onboard customers to achieve the capacity in the required timeframe.
15 | N/A | Evidence to support Environmental Approvals |  | Failure to provide this information will result in exclusion from the evaluation process. For existing facilities/equipment: Provide copies of current, approved environmental authorisations (e.g., licences/registrations/works approvals) that apply to the facility/equipment and its operations. For new facilities/equipment: Provide sufficient evidence that required environmental approvals have been sought for consideration (e.g., confirmation that an application/referral has been submitted), together with the proposed approval pathway and key delivery dates/milestones demonstrating approvals will be secured prior to commissioning/operation. If the approval have not been obtained, please provide the breakdown list of approvals required and its timeline in your project plan.
16 | N/A | Project methodology |  | Failure to provide this information will result in exclusion from the evaluation process. Respondents are required to provide the project methodologies that will be applied to manage the delivery of the proposed solution, ensuring it meets the requirements outlined in the Service Specification. Additionally, respondents are encouraged to showcase previous project methodologies used to fulfill obligations or similar projects related to the specified Service(s). Any references to names may be deleted to maintain confidentiality.
17 | N/A | Technical capabilities |  | Failure to provide this information will result in exclusion from the evaluation process. Respondents need to provide details of technical capabilities to meet the requirements outlined in the Service Specification (if respondents have not provided the details in any other parts in this form). In addition, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities. For Virtual Power Plant (VPP), please provide the composition of VPP by Number of Customers, Technology Type, including maximum DER size, and any other relevant information.
18 | N/A | Western Australian Industry Participation Plan (WAIPS) | <Not Application in Expression of Interest> | Respondents must complete the Full Participation Plan through the link provided in the Final Service Specification 6.2.2.
19 | N/A | Cyber security |  | Respondents are required, where applicable, to adhere to the AESCSF when the NCESS provider or any of its subcontractors develops, accesses, transmits, processes, stores, or otherwise handles Western Power sensitive operational information or other sensitive data. Please provide information on the type of cybersecurity framework that will be used.
20 | N/A | Regional Price Preferencing (application for Busselton only) |  | To be eligible, respondents need to provide evidence that the business maintained a permanent operational office within 200 kilometers of the contract Point of Delivery (Busselton), excluding the Perth Metropolitan Area.
21 | N/A | I acknowledge that all information provided or received in this NCESS procurement process is subject to the confidentiality requirements of Chapter 10 of the Electricity System and Market Rules (ESM Rules).

## Service Specification
Paragraph | Content | Facility or equipment applicable to | Complies (Y/N) | Quantity | Details | Supporting Documents
| Service details | Network Support Services
| Service requirements | Network Support Services
2.1.1 | This draft NCESS Service Specification is for a Network Support Service at locations defined in section 2.3. The Service is required for energy supply or reduction of energy withdrawal at the distribution high voltage feeder level to maintain feeder loading below planning limits in accordance with table 2 and Appendix A. This opportunity is open to both existing and new facilities and facilities are not required to be registered. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Expected technical capability of a facility or equipment that may be able to provide the Service | Network Support Services
2.2.1 | The expected technical capability of a facility or equipment that may be able to provide the NSS must be sufficient to form and sustain an energy supply or reduction of energy withdrawal in line with the following requirements: - providing the energy supply or reduction of energy withdrawal as agreed in the NCESS Contract, within the Activation Period and on issuing of an Activation Notice. - sustaining the NSS for the period agreed in the NCESS Contract, within the Activation Period and on issuing of an Activation Notice. Each service has a maximum duration, as per the specification in Appendix A. A minimum duration is not specified. Western Power may contract and activate multiple NSS to cover the required service duration where a single, cost-effective, NSS is not available. - sustaining the NSS at a minimum of 95% of the service quantity required for each NSS location. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.2.2 | A NCESS provider is required to comply with all applicable ESM Rules. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Service locations | Network Support Services
2.3 | The NSS is required at the locations shown in table 2 and with further specification in appendix A. The facilities providing the NSS must be electrically connected to the Distribution feeders in table 2 via the high and / or the low voltage network. Where the NSS will be provided by small number of large Distributed Energy Storage Systems, the Grid connection point of the systems will be subject to Western Power approval with respect to suitability to meet the NSS service requirements. Further specific Western Power network information can be provided on request. <Please provide detail in the tab "Pricing & Response each location"> | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Service Quantity required | Network Support Services
2.4.1 | Submission(s) in response to this draft NCESS Service Specification must specify a Service Quantity. <Please provide detail in the tab "Pricing & Response each location"> | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MVA)
2.4.2 | The Service Quantity must be in accordance with the provisions specified for each location in appendix A; however, where the total specified Service Quantity cannot be provided, Western Power may still consider and accept a reduced Service Quantity, as it may engage multiple NSS providers to meet the required service specification. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Contract Term and expected Service utilisation | Network Support Services
2.5.1 | The contract term will have an anticipated expiry on 31 March 2029 (irrespective of the Contract Commencement date). The contract duration is expected to be between 1 to 3 years, with Contract Commencement from December 2026, dependent on service availability and internal Western Power approvals. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.2 | The NCESS provider must make the NSS available for Western Power to call upon as required. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.3 | The maximum duration of each Activation varies and is defined for each feeder, as per the specification in appendix A. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.4 | Each service will be activated up to a maximum of 20 times per each Activation Period. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Operational requirements or limitiations | Network Support Services
| Control and communication requirements | Network Support Services
3.1.1 | The NCESS service provider must provide a B2B communication system that: i) Can safely integrate with Western Power’s NSS systems for activation and verification purposes ii) Enables Western Power’s receipt of the data covered in section 3.1.2 iii) Accepts or rejects an Activation Notice from Western Power | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2 | The NCESS provider must provide the following verification data of the Service provided within 5 business days of the service provision. Time series data for all NMIs providing the Service for each time interval commencing 30mins prior to the NSS Activation start until the end, including: – Time stamp (interval start) – NMI – DER type – DER Control signal – DER active power – Total NSS active power | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.3 | The energy supply or reduction of energy withdrawal as agreed in the NCESS Contract takes priority over other system services, however, can be provided coincident to other systems services. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.4 | Western Power will provide an Activation Notice at least 12 hours in advance of the Service being required. |  | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Minimum availability requirement | Network Support Services
3.2.1 | A minimum availability of 95% is required. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.2 | The NCESS provider must notify Western Power within 2 business days of any unavailability periods, after changing or modifying the Service and/or equipment in a way that reduces or could reasonably be expected to reduce the availability of the Service. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.3 | Western Power will require the NCESS provider (at the NCESS provider’s cost) to conduct a test of the Service and/or equipment ahead of the NCESS Contract start date and ahead of each 1 December for the duration of the contract, to demonstrate that the Service complies with the NCESS Contract and with applicable standards, including but not limited to; the ESM rules, NQRS code and the Western Power technical rules. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.4 | The NCESS provider must take remedial action in the event of Service unavailability. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.5 | In the event the Service is unavailable for Activation under the NCESS contract, there will be a reduction in payments by Western Power depending on the duration of the unavailability (Excluding acceptable planned outages to be agreed between Western Power and the NCESS provider as part of contract negotiations). | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.6 | The NCESS provider must provide the participating NMIs associated with providing the Service aligned to the capacity agreed in the NCESS contract. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.7 | 3.2.7 The NCESS provider must provide equipment information to show the service is capable of providing the Service Quantity. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.

## Pricing & Response each locatio
Distribution | Substation | Active Power Requirement (MW) |  |  | Capacity Offers (MW) |  |  | Pricing (for 3 years)
Feeder | Location | 2026/27 | 2027/28 | 2028/29 | 2026/27 | 2027/28 | 2028/29 | Fixed Payment ($/MW/year) | Variable Payment ($/MWh) only if applicable | Technology Type (eg. Standalone BESS, VPP, Gas gen, Diesel gen, Load Control, specify otherwise) | Existing Facility / New Facility | Connection | Service Start Date (if not starting on 1 Dec 2026) | Comply to Service Specification (Yes /No) If no, please provide details | Other Information
A503 | Westminster | 0.2 | 0.3 | 0.3
A506 | Westminster | 1.1 | 1.3 | 1.5
A514 | Westminster | 1.0 | 1.2 | 1.4
APM504 | Bibra Lake | 1.3 | 2.6 | 3.9
APM511F | Bibra Lake | 1.1 | 2.1 | 3.2
COL307 | Como | 0.9 | 1.1 | 1.26
COL 317 | Como | 0.4 | 0.4 | 0.5
COL327 | Como | 1.0 | 1.2 | 1.4
COL339 | Como | 0.6 | 1.1 | 1.7
G504 | Gosnells | 0.8 | 1.7 | 2.5
G506 | Gosnells | 1.0 | 2.1 | 3.1
G514 | Gosnells | 0.8 | 1.5 | 2.3
G515 | Gosnells | 0.8 | 0.9 | 1.1
JTE302R | East Perth | 1.0 | 2.0 | 3
JTE315F | East Perth | 0.6 | 1.2 | 1.8
JTE321F | East Perth | 0.6 | 0.7 | 0.8
JTE323F | East Perth | 0.7 | 0.8 | 0.9
JTE330F | East Perth | 0.5 | 1.1 | 1.6
OC505 | O'Connor | 1.2 | 2.3 | 3.5
OC508 | O'Connor | 0.9 | 1.1 | 1.3
OC517 | O'Connor | 0.7 | 1.3 | 2
BSN540 | Busselton | 0.5 | 1.1 | 1.6
BSN557 | Busselton | 1.2 | 2.5 | 3.7
[8 empty] | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Trading Intervals subject to Facility Activation.