## Questionnaire
Registration of Interest P01906 - Disconnectors & Earth Switches (24kV to 362kV)
WESTERN POWER SPECIFICATION: AM-P0003- 25 - 24kV to 362 kV Disconnectors and Earth Switches
Questionnaire
Section | Question No. | Question | Supplier Response | Attachment / Reference | Additional Comments
Company Information | 1 | Provide your organisation’s name and address
| 2 | Is your organisation an Original Equipment Manufacturer (OEM) or a distributor/reseller?
| 3 | Do you have local support in Perth / Australia?
| 4 | How many accredited personnel are available to provide services related to assembly, troubleshooting, and maintenance?
Manufacturing Details | 5 | Provide the manufacturer’s name and address of the manufacturing facility/factory for general disconnectors & earth switches (24kV to 362kV)
| 6 | Provide a brief statement covering the OEM's company history and years of supply of the general disconnectors & earth switches
| 7 | Does the manufacturing facility have an endorsed independent external accreditation confirming compliance with ISO9001?
| 8 | What is the production capacity of the manufacturer?
Product Scope and Standards | 9 | Does your organisation provide the design, manufacturing, and delivery of disconnectors and earth switches with a rated voltage range of 24kV to 330kV?
| 10 | Are your products designed and manufactured in accordance with IEC 62271?
| 11 | Are you able to provide horizontally and vertically mounted Rocker type disconnectors for 22kV and 33kV voltage range?
| 12 | Are you able to provide single phase disconnectors for 22kV and 33kV voltage range?
| 13 | Are you able to provide double break type disconnectors?
| 14 | Are you able to provide horizontally mounted operating handle for manually operated disconnectors and earth switches?
| 15 | Could your disconnectors rated from 24 kV to 362 kV be installed on a support structure with a maximum height of 7 meters?
| 16 | Can your disconnectors be supplied with left-side, right-side, or both-side earth switches?
| 17 | Are you able to provide both manual and motorised operating mechanism for 132 kV - 330kV disconnectors and earth switches?
| 18 | On request, is your organisation able to provide copies of type test certificates issued within the last 5 years by an internationally accredited testing authority (ILAC signatory)?
| 19 | Western Power requires compliance with C5 corrosion grade environmental conditions. Confirm if your product meets this requirement and provide details.
| 20 | Can your disconnector be designed and operated with WP free-issued insulators?
Performance, Warranty, and Maintenance | 21 | Provide the minimum specified service life of the disconnectors & earth switches offered, under normal operating conditions
| 22 | Provide the statement of warranty period
| 23 | Provide the number of failures or major performance issues in the last five years. Provide details and corrective actions taken
| 24 | Can your organisation provide training or technical support for the installation and operation of the disconnectors?
| 25 | Provide the maintenance schedule requirements
Client References | 26 | Provide a reference list of current clients using disconnectors & earth switches (22kV to 362kV), including the quantities supplied and the voltage in Australia and overseas | Complete the table in Client References tab
Drawings and Lead Times | 27 | What is the lead time (in days) for providing GA drawings and schematics after order placement?
| 28 | What is the lead time (in days) from order placement to delivery?
Benefits to Western Australia | 29 | Describe your organisation’s current contribution to the Western Australian economy
| 30 | Describe your local employment footprint, including number of offices and WA-based employees.
| 31 | Describe your use of local suppliers or subcontractors for logistics, transport, warehousing, or other services
| 32 | Provide quantitative information where available (e.g., % of WA spend, number of WA-based employees, value of local contracts)
Safety | 33 | Has your organisation, including parent and subsidiary entities, been fatality-free for the last five years?
| 34 | What is your rolling 12-month Total Recordable Injury Frequency Rate (TRIFR)?
| 35 | Does your organisation have an established SHE management system aligned to AS/NZS 4801, OHSAS 18001, AS/NZS 14001, or an equivalent international standard?

## Client References
Registration of Interest P01906 - 24kV to 362kV Disconnectors & Earth Switche
WESTERN POWER SPECIFICATION: AM-P0003- 25 - 24kV to 362 kV Disconnectors and Earth Switches
Client References Table
Product Description | System Highest Voltage (kV) | Buyer Name | Location | Quantity Supplied | Year Supplied | Comments
24
36
72.5
145
245
362