# Potential Relevant Generator Modification Form

# Background

A Market Participant responsible for a Transmission Connected Generating System must register the performance of their Facility against Generator Performance Standards (GPS) as described in Chapter 3A and Appendix 12 of the Electricity System and Market Rules (ESM) Rules.  Under the ESM Rules the performance requirements are referred to as the Generator Performance Standards (GPS).

The Relevant Generator Modification framework is described in ESM Rules 3A.13-3A.14 and contains provisions to consider the impact of a modification to a Transmission Connected Generating System, and when these modifications may require updates to a Registered GPS and/or additional compliance testing.

This document captures information that is required as part of a Potential Relevant Generator Modification declaration and will be used by Western Power and AEMO during assessment of the Potential RGMs and subsequently assessing if those Potential RGM should be declared RGMs.

A Potential Relevant Generator Modification notification should consider the Relevant Generator Modification Guideline, which has been produced in accordance with ESM Rules 3A.13.2. This guideline provides Market Participants with examples of Potential Relevant Generator Modifications as well as circumstances and situations in which a Potential Relevant Generator Modification may be declared by Western Power to be a Relevant Generator Modification.

https://www.westernpower.com.au/industry/manuals-guides-standards/generator-performance-standards/

# Lodging a Potential Relevant Generator Modification

A Potential Relevant Generator Modification must be submitted using this template and should be supported by any relevant supporting documents required to support the proposed Potential Relevant Generator Modification. Supporting documents must be described in Part B of this document.

A separate template should be used to describe each Potential Relevant Generator Modification.

Please delete the green guide text prior to submission

Potential Relevant Generator Modification declaration form, supporting documents should be submitted to Western Power via email to system.analysis@westernpower.com.au

# Attachment 1: Potential Relevant Generator Modification Declaration Form

PART A – Transmission Connected Generating System and Market Participant contact details

| Applicant name: |  |
| --- | --- |
| ABN/ACN: |  |
| Name of contact: |  |
| Phone: |  |
| Email: |  |
| Postal address: |  |
| Consulting engineer: |  |
| Phone: |  |
| Email: |  |
| Postal address: |  |
| Participant Name [as registered] |  |
| Participant Code [as registered] |  |
| Facility Code [as registered] |  |
| Unit name associated with this RGM |  |
| GPS Registration Date |  |
| GMP Registration Date |  |

| PART B – Potential Relevant Generator Modification: |  |  |  |
| --- | --- | --- | --- |
| This request proposes a Potential Relevant Generator Modification as part of a RGM framework for the Transmission Connected Generating System described in Part A. |  |  |  |
| Proposed RGM Identifier | The Proposed RGM Identifier should include the registered Facility Code and an identification number, separated by a hyphen. e.g.: GENNAME-1 |  |  |
| - Background |  |  |  |
| Background to the Relevant Generator Modification – include relevant modification (subheadings) as required. For example, Description of the change and the equipment, systems or settings involved, the reason for the change, the expected effect (including effects outside of the Technical Requirements) of the change including if and how the change may alter the characteristics, performance, or capacity of the Generating System. Western Power and AEMO may request additional information following an initial enquiry or submission of a Potential RGM to enable them to make an assessment. Market Participants should be aware that, regardless of any declaration of an RGM, obligations in the ESM Rules may require information to be submitted to Western Power and AEMO or for particular activities to be undertaken in relation to a change. For example: • Commissioning related activities required for new or replaced equipment • Testing schedules and test results demonstrating performance (or continued performance). |  |  |  |
| - Potential Relevant Generator Modification details |  |  |  |
| 2.1 Provide a short description of the Potential Relevant Generator Modification Please provide a description of the Potential Relevant Generator Modification. 2.2 Is the Potential Relevant Generator Modification being undertaken to prevent noncompliance with a Registered GPS? Is it a replacement/repair due to failure and may lead to a Generator being unable to meet its Registered GPS? 2.3 Does the Potential Relevant Generator Modification relate to maintenance? Is it a significant maintenance that has the potential to alter the performance of the Generating System with reference to the Technical Requirement of the Registered GPS? If it is a reactive maintenance, please provide the details of it. 2.4 Does the Potential Relevant Generator Modification relate to equipment Replacement? Is it a “Like-for-like replacements” or “Like-for-equivalent replacements”? - If it is “Like-for-like replacements”: Please provide the detail description including supporting evidence. - If it is “Like-for-equivalent replacements”: Please provide the detail description including supporting evidence for the following questions where applicable. - Is it changes in Equipment? - Is it changes in System? - Is it changes in Software and setting? - Is it changes in Secondary systems? - Is it the additions, replacements, and retirements of Generating Units within a Facility? - Is it any other Potential RGM, not mentioned above? 2.5 The expected effect (including effects outside of the Technical Requirements) of the change including if and how the change may alter the characteristics, performance, or capacity of the Generating System Please provide expected effect (including effects outside of the Technical Requirements) of the change in detail including the supporting evidence. 2.6 When is the Potential Relevant Generator Modification planned to take place Please provide the expected time schedule (including exact timeline/sequence of events/stages of events) for this Potential Relevant Generator Modification to take place. |  |  |  |
| - Signature and supporting documents |  |  |  |
| Signature of the authorised person requesting consideration for the described Potential Relevant Generator Modification to be included as part of RGM framework and confirming that the supporting information provided in Part A and Part B of this form is complete and accurate. Printed name: ______________ Date: _______ Signature: Please list the documents provided in support of the proposed Potential Relevant Generator Modification into the table below, adding rows as required. |  |  |  |
| Supporting documents |  | Description/relevance of supporting information | Section/para. Page no. |

| - PART C – Potential Relevant Generator Modification Outcome: |  |  |  |
| --- | --- | --- | --- |
| This Part should be completed by Western Power after the assessment of the Potential Relevant Generator Modification submission as part of a RGM framework for the Transmission Connected Generating System described in Part B. |  |  |  |
| Assessor Name |  |  |  |
| Position |  |  |  |
| Outcome |  |  |  |
| Outcome Category |  | YES | NO |
| Potential Relevant Generator Modification |  |  |  |
| More Information Required |  |  |  |
| Further action, if it is a Potential Relevant Generator Modification |  |  |  |
| Further action, if it is not a Potential Relevant Generator Modification |  |  |  |
| Comment: |  |  |  |
| Reviewer Name |  |  |  |
| Position |  |  |  |
| Outcome |  |  |  |
| Outcome Category |  | YES | NO |
| Potential Relevant Generator Modification |  |  |  |
| More Information Required |  |  |  |
| Further action, if it is a Potential Relevant Generator Modification |  |  |  |
| Further action, if it is not a Potential Relevant Generator Modification |  |  |  |
| Comment: |  |  |  |