## Instructions
Instructions
Respondents are requested to populate the following tabs in this spreadsheet:
Response
(as required by clause 3.11B.7 of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised blue text is provided to guide participants as to the expected content where relevant.
NCESS Service Specification
(as required by clause 3.11B.9(a)ii of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
The Service Specification tab includes all paragraphs in the provided Service Specification except sections:
|  |  | 1 | Introduction
|  |  | 4 | General
|  |  | 5 | Pricing Structure
|  |  | 6 | Selection Criteria
|  |  | 7 | WEM participation and registration
Respondents should provide:
• Compliance indication (Y/N) to demonstrate where the respondent is able to comply with the Service Specification
- Please indicate N/A where the paragraph does not apply to the type of technology or equipment
• Quantity (as relevant) to indicate the quantity offered
• Details, to indicate further information relevant to the submission
• Supporting Documents, to reference any supporting documentation provided by the respondent in their response
Pricing & Response
(as required by clause 3.11B.9(a)iii of the ESM Rules)
Please only fill the row for the service(s) and term duration that you intend to provide.
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised text is provided to guide participants as to the expected content where relevant.
Additional Questions
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Submission
Responses must be submitted to Western Power using the online collection form.
by 5:00pm AWST on 12 October 2026. Extension cannot be considered.
To be valid, responses must include:
The populated Short-Term NCESS Submission Form - North Country (1-4 year terms) (.xlsx)
Any supporting documentation
Submission Validity
Respondents must ensure that their Submission, including all pricing and commercial terms, remains valid and open for acceptance by Western Power for 180 days after the applicable Tender Closing Date. Western Power may request that the Respondent extend the validity period of its Submission if additional time is required to complete the procurement process.

## Response
Item | Clause | Request | Response | Guidance Notes
1 | 3.11B.7(a) | The name and type of facility or equipment, and whether it is registered or intending to be registered under the ESM Rules
2 | 3.11B.7(b) | The name of the Market Participant, or service provider, as applicable, in respect to the facility or equipment
3 | 3.11B.7(c) | The quantity of service the facility or equipment will provide for the NCESS |  | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification. A prospective NCESS provider may offer a network support service, that can fully or partially meet the relevant service requirements.
4 | 3.11B.7(d) | The timing and duration of the service availability for the NCESS |  | Respondents should identify any limits that may apply to their Facility in complying with the period specified in the Service Specification.
5 | 3.11B.7(e) | The location of the facility or equipment on the network
6 | 3.11B.7(f) | Any operational requirements or limitations that must be respected for use of the facility or equipment for the NCESS
7 | 3.11B.7(g) | Where the NCESS Submission is made in respect to a type of technology that would ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it will be able to meet the relevant requirements in clause 4.10.1 in respect of each Reserve Capacity Cycle that the Facility would be eligible to participate in over the period of the NCESS Contract |  | Whether the Market Participant or service provider, as applicable, intends to participate in the Reserve Capacity Cycle; and if so, relevant information on steps taken in preparation for that application.
8 | 3.11B.7(gA) | Where the NCESS Submission is made in respect to a type of technology that would not ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it is not able to meet the relevant requirements of clause 4.10.1.
9 | 3.11B.7(h) | Whether the facility or equipment participates, or will participate, in Central Dispatch or is accredited or will be accredited under these ESM Rules to provide an Essential System Service
10 | 3.11B.7(i) | the fixed costs for that facility or equipment applicable for the period of the NCESS Contract, including any Capacity Credit payments expected or received |  | Respondents should provide a price per year to be available in accordance with the Service Specification
11 | 3.11B.7(iA) | if the facility or equipment would ordinarily be capable of being assigned Certified Reserve Capacity, whether the Market Participant or service provider would require any reimbursement for any reduction in a Reserve Capacity settlement amount determined for it under clause 9.8.2 that is a direct consequence of the enablement or dispatch of the NCESS; |  | Western Power expects respondents to include all costs in items 10 and 12.
12 | 3.11B.7(j) | The highest price at which the facility or equipment will provide the NCESS when enabled or dispatched
13 | 3.11B.7(k) | Any other payment that the facility or equipment requires to provide the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
14 | N/A | Evidence to support NCESS delivery dates |  | Failure to provide this information will result in exclusion from the evaluation process. For existing facilities/equipment: Please confirm the date it will be ready to provide the service in accordance with the Service Specification. For new projects/facilities/equipment: Please provide project delivery details, including a Gantt chart (or equivalent schedule), and the key milestones required to achieve Commercial Operations, land acquisition (leasing, purchase, MOU, etc), including evidence of when the facility/equipment will be connected to the network. In all cases, please identify any material risks and opportunities associated with your proposed delivery and service commencement, and state the key assumptions underpinning your schedule, milestones, and readiness/availability commitments.
15 | N/A | Evidence to support Environmental Approvals |  | Failure to provide this information will result in exclusion from the evaluation process. For existing facilities/equipment: Provide copies of current, approved environmental authorisations (e.g., licences/registrations/works approvals) that apply to the facility/equipment and its operations. For new facilities/equipment: Provide sufficient evidence that required environmental approvals have been sought for consideration (e.g., confirmation that an application/referral has been submitted), together with the proposed approval pathway and key delivery dates/milestones demonstrating approvals will be secured prior to commissioning/operation. If the approval have not been obtained, please provide the breakdown list of approvals required and its timeline in your project plan.
16 | N/A | Project methodology |  | Failure to provide this information will result in exclusion from the evaluation process. Western Power’s assessment of the project methodology and milestones, and likelihood that the project will achieve key dates. Projects that have demonstrated progress in the following areas will score highly: • Network connection progress (i.e. projects that have secured, or are well progressed with a clear and credible pathway to secure, network connection approval) • Planning and approvals progress (i.e. projects that have a clear and credible pathway for resolving any ongoing concerns or queries of the authorities providing the requisite planning and regulatory approvals) • Land tenure (i.e. projects that have secured, or have a clear and credible pathway for securing, land tenure rights for all of the project sites including the connection route) • Organisational maturity and experience in providing similar services
17 | N/A | Technical capabilities |  | Failure to provide this information will result in exclusion from the evaluation process. Respondents need to provide details of technical capabilities to meet the requirements outlined in the Service Specification (if respondents have not provided the details in any other parts in this form). The ideal NCESS Service Provider would meet the Service requirements whilst offering enhanced system benefits, and system supporting capabilities.
18 | N/A | Western Australian Industry Participation Plan (WAIPS) |  | Respondents must complete the Full Participation Plan through the link provided in the Service Specification 6.2.3.
19 | N/A | Cyber security |  | Respondents are required, where applicable, to adhere to the AESCSF when the NCESS provider or any of its subcontractors develops, accesses, transmits, processes, stores, or otherwise handles Western Power sensitive operational information or other sensitive data. Please provide information on the type of cybersecurity framework that will be used.
20 | N/A | Regional Price Preferencing |  | To be eligible, respondents need to provide evidence that the business maintained a permanent operational office within 400 kilometers of the contract Point of Delivery, excluding the Perth Metropolitan Area.
21 | N/A | I acknowledge that all information provided or received in this NCESS procurement process is subject to the confidentiality requirements of Chapter 10 of the Electricity System and Market Rules (ESM Rules).
22 | N/A | Submission Validity Respondents must ensure that their Submission, including all pricing and commercial terms, remains valid and open for acceptance by Western Power for 180 days after the applicable Tender Closing Date. Western Power may request that the Respondent extend the validity period of its Submission if additional time is required to complete the procurement process.

## NCESS Service Specification
Paragraph | Content | Complies (Y/N) | Quantity | Details | Supporting Documents
Service details
Service requirements
2.1.1 | The final NCESS Service Specification is for a Reliability Service (measured in MW of response capability) in the North Country to minimise power supply disruption during planned and unplanned network events. The Service shall include: (i) Base Demand Reliability Service; and (ii) Peak Demand Reliability Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section. |  | Please tell if you will provide Base Demand Reliability Service and/or Peak Demand Reliability Service
2.1.2 | The final NCESS Service Specification is for a System Strength Service (measured in MVA of available fault level) in the North Country to allow Western Power the ability to manage voltage stability, maintain power quality standards, and ensure sufficiently high fault levels for intact network conditions, or as a result of planned and unplanned network events. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section. |  | Please tell if you will provide System Strength Service
2.1.3 | An NCESS Service Provider may offer either a Reliability Service or a System Strength Service, or both, provided the relevant technical requirements of the final NCESS Service Specification are met. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.1.4 | An NCESS Service Provider may offer between the maximum and minimum of the Service Quantity for either of the required services. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Expected technical capability of a Facility or equipment that may be able to provide the Service
2.2.1 | As the Facility providing the NCESS will be dispatched via AEMO, the Facility must be a Registered Facility of the Facility Class Scheduled Facility or Semi-Scheduled Facility at the commencement of the NCESS Contract Term. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.2.2 | A Facility or equipment that may be able to provide the Services is expected to be capable of the following: (i) Synchronising and being capable of achieving its ramp rate of Injection to the Dispatch Target within 15 minutes of receiving a Dispatch Instruction from AEMO. (ii) Complying with the terms of the NCESS Service Provider connection agreement with Western Power in accordance with the Technical Rules, including any obligation(s) to comply with the Technical Rules and ESM Rules. (iii) Providing active power capability that can provide some or all of the required Service Quantity (noting the requirement of paragraph 2.1.4) at local temperature conditions as specified in the Technical Rules or ESM Rules (as applicable). (iv) Providing SCADA and duplicate protection / telecommunication systems to enable remote monitoring, control (including remote resetting) and communication between AEMO, Western Power and the NCESS Service Provider’s Facility, and, where applicable, as specified in the Technical Rules and ESM Rules. (v) Allowing remote start functionality for all Regional Restarts, such that they can be connected to a dead bus at full speed with no load within 15 minutes of AEMO issuing a Regional Restart start-up command. (vi) Local Black Start functionality to automatically restore auxiliary systems upon detecting a total loss of supply to enable the Regional Restart process. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.2.3 | When a Regional Restart is activated (following the total loss of supply to the North Country), an NCESS Service Provider may be called upon for one of the following functions: (i) Primary startup function (i.e. an initial Facility to be energised, operating in isochronous mode with no load initially, followed by the gradual restoration of power to loads that are essential to the subsequent Regional Restart steps). (ii) Secondary startup function (i.e. following the formation of the initial North Country Island with stable voltage and frequency, additional capacity will be called upon if required to enable the staged restoration of remaining loads within the North Country). | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Service location
2.3.1 | The Reliability Service and System Strength Service are required to be connected to the Western Power network, to the north of Three Springs (TS) Zone Substation. Note: Preference will be given to projects located closer to Geraldton Zone Substation and that have already secured land tenure. NCESS Service Providers interested in discussing access to land in the North Country are encouraged to contact Development WA | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Maximum & Minimum Service Quantity Required
2.4.1 | A submitted response to this final NCESS Service Specification must specify a Service Quantity for each Service. Where a Service is not offered, a value of 0 shall be entered. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section. | Quantity of Base Demand Reliability Service : ___MW Quantity of Peak Demand Reliability Service : ___MW Quantity of System Strength Service : ___MVA
2.4.2 | The maximum Service Quantity required from all NCESS Service Providers is: (i) 125 MW for Reliability Service, comprising of: A. 90 MW for the Base Demand Reliability Service; and B. 35 MW for the Peak Demand Reliability Service. (ii) 1,000 MVA for the System Strength Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.4.3 | The minimum Service Quantity Western Power will consider from a single Facility is: (i) At least 30 MW for contribution to the Base Demand Reliability Service; (ii) At least 5 MW for contribution to the Peak Demand Reliability Service; or (iii) At least 100 MVA for contribution to the System Strength Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.4.4 | A single NCESS Service Provider is eligible to provide all Services. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Expected Commencement, Duration and Service Utilisation
2.5.1 | The expected NCESS Commencement Date is between 1 October 2029 and 1 October 2032, or earlier. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section. |  | Please provide the in-service date
2.5.2 | The NCESS End Date is ten (10) years from the commencement date in paragraph 2.5.1. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.3 | The NCESS End Date may be extended for up to fifteen (15) years beyond the initial expected NCESS End Date defined in paragraph 2.5.2. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.4 | Western Power is seeking both short and long-term NCESS Contract Terms to enable the most cost-effective arrangement for providing Reliability Service and System Strength Services. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.5 | Western Power requires proponents who wish to offer a short-term Service to provide their pricing for the following terms. Term Duration Services 1 year Base Demand Reliability Service Peak Demand Reliability Service System Strength Service 2 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service 3 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service 4 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.6 | Western Power requires proponents who wish to offer a long-term Service to provide their pricing for the following terms. Term Duration Services 10 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service 15 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service 20 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service 25 years Base Demand Reliability Service Peak Demand Reliability Service System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.7 | A submitted response to this Service Specification must specify a NCESS Contract Term(s) for each Service. A Contract Term that meets part of the NCESS Service Period will be considered. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.8 | Subject to operational maintenance requirements as outlined in paragraph 3.5 and the notice requirements in paragraph 2.5.15, the NCESS Service Provider must make the Service available for Western Power to call upon as required during the NCESS Contract Term. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.9 | Western Power requires a Reliability Service Activation for each planned or unplanned network event throughout the duration of the NCESS Contract Term. NCESS Service Providers are required to contribute to one or both of the following categories: (i) operation for at least 4 (continuous) weeks for the Base Demand Reliability Service; and/or (ii) operation for at least 4 (continuous) hours between the hours of 2:00 PM to 10:00 PM each day throughout the NCESS Contract Term for the Peak Demand Reliability Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section. |  | please indicate either (i) or (ii) or both
2.5.10 | Western Power may require a Reliability Service Activation to operate in parallel with the SWIS to support Network Operations management of the SWIS for unplanned events or planned works that affect Power System Security in the North Country. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.11 | Western Power requires a System Strength Service to be available to operate under all system conditions, as directed by AEMO. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.12 | The expected service utilisation for a Reliability Service initiated for an unplanned network event is: (i) up to an aggregate of 5 days (120 hours) per year for the Base Demand Reliability Service; and (ii) up to an additional 20 hours per year for the Peak Demand Reliability Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.13 | The expected service utilisation for a Reliability Service initiated for a planned network event is: (i) up to an aggregate of 40 days per year for the Base Demand Reliability Service; and (ii) no requirement for the Peak Demand Reliability Service as outages are expected to be conducted outside of periods of peak demand. NOTE: The expected service utilisation figures presented within this document are based on historical data, noting these represent estimates only to the projected frequency of outages which may change as the configuration and the characteristics of the power system change in the future. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.14 | The expected service utilisation for a System Strength Service is: (i) At all times where the local System Strength is assessed to be below a minimum level as informed by the System Strength Forecast and Planning Coordination Group (FPCG). NOTE: In lieu of the release of a System Strength Report for the SWIS, Western Power assumes that it is likely that the System Strength Service Quantity as requested in this specification will be required to be connected from the year 2030. This assumption is based on the understanding that the Clean Energy Link North project is expected to unlock generation within the Northern Terminal to Three Springs Terminal region. It is also expected that a portion of this generation will make use of Inverter-Based Resource (IBR) generation which will negatively impact the local System Strength in the North Country. Footnote: The development of the system strength framework for the WEM is currently underway. The structure and conditions for system strength service outlined in this doc may be impacted by the outcomes of this framework. Recent updates accessible through Power System Security and Reliability Standards Review page. Establishment of the System Strength FPCG is under development as part of the Power System Security and Reliability Standards Review. Western Power is contributing to development of an information paper and Electricity System and Market (ESM) Rules exposure draft which seek to establish roles and responsibilities in relation to system strength. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.15 | Activation will typically be at least 1 (one) day’s advance notice where possible for planned network events, and without notice for unplanned network events. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.5.16 | NOTE: A Proponent contracted to provide both a System Strength Service and a Reliability Service may be dispatched to provide the System Strength Service only. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Eligibility
2.6.1 | This NCESS procurement is open to new or existing Facilities and/or equipment. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section. |  | Indicate if the facility is new or existing
2.6.2 | NCESS Service Providers may be currently registered as Market Participants or NCESS Service Providers that are intending to register as Market Participants. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.6.3 | For a Facility that is currently unregistered, NCESS Service Providers must provide progress reports every 3 months after contract execution until the Facility is in Commercial Operation, including: (i) A project Gantt chart with milestones and critical path to Commercial Operation; and (ii) A risk register for critical path activities. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.6.4 | Western Power welcomes NCESS Submissions across a wide range of technology types that are able to meet the functional requirements of this Service Specification. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
2.6.5 | No other relevant contractual or legal arrangement relating to the Service Quantity should exist at any time during the NCESS Contract Term that may adversely affect service delivery, unless otherwise agreed with Western Power. For the avoidance of doubt, this includes any NCESS Contract for provision of a similar service during the NCESS Contract Term. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Operational requirements or limitations
Transmission Operation and Coordination
3.1.1 | In accordance with the Technical Rules, a responsibility of Western Power is to ensure the safety of the power system, and maintain power system reliability, transmission network adequacy and power system security. Functionality, sizing of equipment and selection of a Facilities’ network connection should take into consideration Western Power’s role to manage the power system. For example: (i) Where one NCESS Service Provider proposes to provide the maximum Reliability Service from a single Facility, redundancy should be considered to provide Western Power the ability to maintain Regional Power System Adequacy and Regional Power System Stability under island operating conditions. (ii) Where an NCESS Service Provider proposes to provide only part of the maximum Reliability Service, multiple NCESS Service Providers will be required to meet the overall NCESS Reliability Service requirements. Under this scenario, Western Power with consultation with AEMO may complete power system studies based on the combination(s) of submissions from all NCESS Service Providers to determine if the level of Reliability Service is suitable to achieve Regional Power System Adequacy and Regional Power System Stability under proposed operating conditions. These studies will also inform an acceptable mix of providers where generation is proposed in excess of the Services as requested. NOTE: Preference will be given to NCESS Service Providers that demonstrate that a Facility can: - Dispatch varying levels of System Strength Service to align with real-time System Strength shortfalls - Operate the Facility stably during periods of minimum system demand (or alternatively can increase Demand to support synchronous generators to remain in stable operation) - Support Bump-less separation and Bump-less synchronisation to the main grid | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Control and communication requirements
3.2.1 | The NCESS Service Provider must ensure that the control and communications system provides: (i) Western Power with a 24hr online monitoring system via a reliable telecommunication system to all equipment required as outlined in paragraph 3.2.2; and (ii) At least two (2) independent telecommunication systems between Western Power and the provider to communicate with Western Power’s systems. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.2.2 | The NCESS Service Provider must ensure compliance to relevant sections of the Technical Rules which mandate a reliable SCADA and telecommunication system to enable remote monitoring, communication, and emergency control (in particular, clause 3.3.4). The NCESS Service Provider must also comply with the requirements of Chapter 3A and Appendix 12 of the ESM Rules (or prevailing standards at the time of the connection). | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Minimum availability requirement
3.3.1 | The Facility should target a minimum availability of 95%, measured in accordance with the NCESS Contract. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.3.2 | The NCESS Service Provider must notify Western Power prior to a change or modification to the Service and/or equipment that reduces or could reasonably be expected to reduce the availability of the Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.3.3 | Upon completion of a change or modification to the Service and/or equipment in accordance with paragraph 3.3.2, Western Power may require the NCESS Service Provider (at the NCESS Service Provider's cost) to conduct a test of the Service and/or equipment (in its changed or modified configuration) to demonstrate that the Service complies with applicable standards. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Unavailability
3.4.1 | The Service will be deemed unavailable where: (i) The conditions precedent specified in paragraph 4.2 have not been met; (ii) The NCESS Service Provider notifies Western Power of an inability to provide the Service Quantity except where Western Power approves maintenance plans under paragraph 3.5; (iii) The NCESS Service Provider does not provide the quantity specified in a Dispatch Instruction or Activation instruction, as applicable, with respect to the Service; (iv) Western Power loses communication with, or SCADA visibility of, the Facility or equipment for the entire Dispatch Interval; (v) The Facility or equipment is subject to a Commissioning Test Plan, except where Western Power considers that such a plan does not inhibit the NCESS Service Provider’s ability to provide the Service; or (vi) Western Power otherwise reasonably determines, based on energy or fuel storage information (including storage state of charge) or other relevant information available to Western Power, including with respect to outages not approved under paragraph 3.5, that the Facility or equipment is unable to provide the Service Quantity. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.4.2 | The NCESS Service Provider must, in accordance with Good Electricity Industry Practice, take remedial action in the event of Service unavailability. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.4.3 | In the event the Service is unavailable, there will be a reduction in payments by Western Power depending on the duration of the unavailability. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Maintenance
3.5.1 | The NCESS Service Provider must: (i) Maintain the Facility equipment in accordance with good electricity industry practice; and (ii) Notify and coordinate outages with Western Power as soon as the NCESS Service Provider becomes aware of any requirement for planned or unplanned maintenance that affects, or could reasonably be expected to affect, the ability of the equipment to provide the Service Quantity. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.5.2 | The NCESS Service Provider must plan maintenance in accordance with clause 3.18 of the ESM Rules. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.5.3 | The NCESS Service Provider must ensure that a technician or expert is on site at the NCESS Service Equipment location within 12 hours of a call-out. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.5.4 | The NCESS Service Provider must supply Western Power with their asset management strategy and must notify Western Power of any material changes to that strategy that could reasonably be expected to affect the availability or reliable delivery of the Service. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Electrical requirements
3.6.1 | All NCESS Submissions must comply with all applicable technical compliance standards, including but not limited to: (i) ESM Rules: https://www.wa.gov.au/government/document-collections/electricity-system-and-market-rules (ii) Electricity Industry (Network Quality and Reliability of Supply) Code 2005: https://www.legislation.wa.gov.au/legislation/statutes.nsf/main_mrtitle_1349_homepage.html (iii) Western Power’s Technical Rules: Microsoft Word - TECHNICAL_RULES_-_1ST_DECEMBER_2016_VERSION_REV_3_-_FRI_-_RIM_-_EDM_40546182.docx Other Technical Rules related links: https://www.westernpower.com.au/resources-education/manuals-guidelines-and-standards/technical-rules/ (iv) WEM Procedure - Generation System Model Submission and Maintenance: https://www.westernpower.com.au/4a4263/siteassets/documents/documents-and-policies/generator-performance-standards/generator-model-submission-and-maintenance-20210302.pdf (v) Facility Model Guidelines: https://www.westernpower.com.au/49faee/siteassets/documents/documents-and-policies/generator-performance-standards/facility-model-guidelines.pdf | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Electrical protection
3.7.1 | The NCESS Service Provider must ensure that each of the Services supplied have the appropriate sensors and protection systems installed as applicable to comply with relevant standards and codes, in particular Section 3.3.3.8 of the Technical Rules and 3.5 of the ESM Rules. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
3.7.2 | Where a NCESS Service Provider proposes a Service from a new Facility, the exact protection arrangement is subject to discussion and finalisation with Western Power prior to the completion of the design phase. | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.
Documents / drawings required
3.8.1 | The NCESS Service Provider must provide all relevant documents and drawings required by Western Power during the connection of the Facility to meet typical project phases / milestones, including but not limited to: (i) Specification sheets for all Services offered in the NCESS Submission; (ii) General arrangement and schematic diagrams for the Service; and (iii) An adequate and accurate computer model of each Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Details section.

## Short-Term Pricing & Response
Instruction:
1. Please only fill the row for the service(s) and term duration that you intend to provide
2. If your price is a combination of the Base, Peak, or System Strength, please combine the Excel Cells for Column C, D, and F accordingly.
[6 empty] | System Strength Variable Cost |  | Market Revenue outside of this NCESS |  |  | Capacity
SHORT TERM | Services | Capacity Offers (MW or MVA) | Reliability Fixed Cost ($/Year) | Reliability Fixed Cost ($/MW/Year) | Reliability Variable Cost ($/MWh) | Variable Cost ($/MVA/hr, $/machine/hr, or specify) - System Strength | Specify the System Strength Unit used ( $/MVA/hr, $/machine/hr, or otherwise please specify) | Are you planning to provide other Market Services during the term of the NCESS contract? | Please list other Market Services you are providing outside of this NCESS during the term | Technology Type (eg. Gas gen, Diesel gen, Standalone BESS, Load Control, specify otherwise) | What is your MVA capacity under N-0 at the Connection Point | What is your MVA capacity under N-1 at the Connection Point (N-1 means the loss of the largest equipment or machine) | Black Start Capability | Existing Facility / New Facility | Connection | Service Start Date | Details/ other Information
EXAMPLE | Base Demand Reliability Service (MW) | 70 | 220000 | 3142.8571 | 100 |  |  | Yes | FCESS | Gas gen | 70 | 35 | Yes | Facility - existing | Utilise existing connection | 2028-10-01
| Peak Demand Reliability Service (MW) |  |  | #DIV/0!
System Strength Service (MVA)
1 year | Base Demand Reliability Service (MW) |  |  | #DIV/0!
| Peak Demand Reliability Service (MW) |  |  | #DIV/0!
System Strength Service (MVA)
2 years | Base Demand Reliability Service (MW) |  |  | #DIV/0!
| Peak Demand Reliability Service (MW) |  |  | #DIV/0!
System Strength Service (MVA)
3 years | Base Demand Reliability Service (MW) |  |  | #DIV/0!
| Peak Demand Reliability Service (MW) |  |  | #DIV/0!
System Strength Service (MVA)
4 years | Base Demand Reliability Service (MW) |  |  | #DIV/0!
| Peak Demand Reliability Service (MW) |  |  | #DIV/0!
System Strength Service (MVA)
|  | NOTE: The capacity offered, MW for Reliability Service MVA for System Strength Service | NOTE: Payable in all Availability Intervals Subject to Facility Availability | NOTE: $/MW/Year auto calculated | NOTE: Payable in all Trading Intervals Subject to Facility Activation | NOTE: Please specify the Variable Cost in Column G, and the unit of measure in column H, if the drop down does not have the unit of measure please specify or provide more detail |  | NOTE: Please list all the other Market Revenue the facility / equipment is being paid outside of this NCESS service. List all current and future plans as well. |  | NOTE: Please specify the type of generation technology used | NOTE: Connection Point means the point on the Network Operator’s Network where the Network Operator’s Primary Equipment (excluding metering assets) is connected to the Primary Equipment of the Transmission Connected Generating System.

## Additional Questions
# | Additional Questions | Answer if applicable, otherwise put N/A
1 | If your proposal is to build a new generation facility, how many years do you anticipate the new Facility to be contracted by Western Power to justify your investment?
2 | If your proposal is to build a new generation facility, how many years of Contract term will give the best $/MW/year?
3 | Are you seeking to augment the existing connection to the network or seeking a new connection?
4 | If you are connecting a new facility, at which stage of the Connection Process are you currently in? https://www.westernpower.com.au/products-services/install-something-new/connect-my-home-or-business/transmission-connected-loads-generators/
5 | If your Proposal requires a new or amended connection to the Western Power Network, have you obtained, or do you intend to obtain, Connection Ready status as part of Western Power’s Critical Projects Framework?
6 | If you have an existing facility that you are unsure if it can meet the Service Specification, please provide details.
7 | How many more remaining years of Asset lifetime based on your facility maintenance plan/asset management strategy?
8 | Please provide the key risks and opportunities that you foresee in meeting the expected delivery date?
9 | If you have an existing facility, what is your asset management plan to scale the Service, if so please provide detail.
10 | Does the facility include black start capability? if not, is there a plan to install the black start capability?
11 | What are the available fuel options for the facility?
12 | What are the key risks associated with fuel supply chain to support the facility? What measure are in place to mitigate these risks?
13 | Excluding periods required for planned maintenance, do you foresee a seasonal, recurring pattern where: - The service won't be available - The service output level will be reduced
14 | Please provide references to your previous or ongoing projects that provide similar services