## Instructions
Instructions
Respondents are requested to populate the following tabs in this spreadsheet:
Response (as required by clause 3.11B.7 of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised blue text is provided to guide participants as to the expected content where relevant.
Western Power is interested in exploring enhanced participation, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities. This may be indicated as an alternate offer.
NCESS Service Specification (as required by clause 3.11B.9(a)ii of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
The Service Specification tab includes all paragraphs in the provided Service Specification except sections:
|  |  | 1 | Introduction
|  |  | 4 | General
|  |  | 5 | Payment
|  |  | 6 | Selection Criteria
Respondents should provide:
• Compliance indication (Y/N) to demonstrate where the respondent is able to comply with the Service Specification
- Please indicate N/A where the paragraph does not apply to the type of technology or equipment
• Quantity (as relevant) to indicate the quantity offered
• Details, to indicate further information relevant to the submission
• Supporting Documents, to reference any supporting documentation provided by the respondent in their response
Pricing (as required by clause 3.11B.9(a)iii of the ESM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised text is provided to guide participants as to the expected content where relevant.
Western Power requests pricing information for contract term that will have an anticipated expiry on the 31st December 2028 (irrespective of Contract Commencement). The contract duration is expected between 1 to 3 years, with the earliest Contract Commencement available January 2026. Alternative offer could include shorter or longer number of service years, please provide details in the comments section.
Submission
Responses must be submitted to Western Power using the online collection form.
by 5:00pm AWST on 14 November 2025. Extension cannot be considered.
To be valid, responses must include:
The populated NCESS Submission Form - NSS Geraldton (.xlsx)
Any supporting documentation
How to indicate compliance
Clause 3.11B.10(a) of the ESM Rules requires Western Power to exclude NCESS Submissions that do not comply with the NCESS Service Specification. Western Power assesses this requirement using responses in the NCESS Submission Form - and must exclude any submission which indicates that the NCESS Service Specification cannot be complied with. Western Power has indicated the portions of the NCESS Specification that require an indication of compliance. Note that several parts of the NCESS Service Specification allow Western Power to agree variations. In the NCESS Submission Form under 'compliance', where indicated that a response is required for your project: a) If your project complies with the requirement, indicate 'yes'. b) If your project is unable to comply with the stated requirements, but the requirement allows Western Power to agree a variation, indicate 'yes' and provide additional comments.

## Response
Item | Clause | Request | Response | Guidance Notes
1 | 3.11B.7(a) | The name and type of facility or equipment, and whether it is registered or intending to register under the ESM Rules
2 | 3.11B.7(b) | The name of the Market Participant, or service provider, as applicable, in respect to the facility or equipment
3 | 3.11B.7(c) | The quantity of service the facility or equipment will provide for the NCESS |  | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification. A prospective NCESS provider may offer a network support service, that can fully or partially meet the relevant service requirements.
4 | 3.11B.7(d) | The timing and duration of the service availability for the NCESS |  | Respondents should identify any limits that may apply to their Facility in complying with the period specified in the Service Specification.
5 | 3.11B.7(e) | The location of the facility or equipment on the network
6 | 3.11B.7(f) | Any operational requirements or limitations that must be respected for use of the facility or equipment for the NCESS
7 | 3.11B.7(g) | Where the NCESS Submission is made in respect to a type of technology that would ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it will be able to meet the relevant requirements in clause 4.10.1 in respect of each Reserve Capacity Cycle that the Facility would be eligible to participate in over the period of the NCESS Contract |  | Whether the Market Participant or service provider, as applicable, intends to participate in the Reserve Capacity Cycle; and if so, relevant information on steps taken in preparation for that application.
8 | 3.11B.7(gA) | Where the NCESS Submission is made in respect to a type of technology that would not ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it is not able to meet the relevant requirements of clause 4.10.1.
9 | 3.11B.7(h) | Whether the facility or equipment participates, or will participate, in Central Dispatch or is accredited or will be accredited under these ESM Rules to provide an Essential System Service
10 | 3.11B.7(i) | the fixed costs for that facility or equipment applicable for the period of the NCESS Contract, including any Capacity Credit payments expected or received |  | Respondents should provide a price per year to be available in accordance with the Service Specification
11 | 3.11B.7(iA) | if the facility or equipment would ordinarily be capable of being assigned Certified Reserve Capacity, whether the Market Participant or service provider would require any reimbursement for any reduction in a Reserve Capacity settlement amount determined for it under clause 9.8.2 that is a direct consequence of the enablement or dispatch of the NCESS; |  | Western Power expects respondents to include all costs in items 10 and 12.
12 | 3.11B.7(j) | The highest price at which the facility or equipment will provide the NCESS when enabled or dispatched
13 | 3.11B.7(k) | Any other payment that the facility or equipment requires to provide the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
14 | N/A | Evidence to support NCESS delivery dates |  | Please provide details for project delivery, including a Gantt chart or an equivalent representation, along with the milestones necessary to achieve commercial operations
15 | N/A | Evidence to support Environmental Approvals |  | Respondents are required to provide evidence of approval for existing facilities. For new facilities or equipment, respondents must provide evidence of approval sought in delivery dates or milestones.
16 | N/A | Project methodology |  | Respondents are required to provide the project methodologies that will be applied to manage the delivery of the proposed solution, ensuring it meets the requirements outlined in the Service Specification. Additionally, respondents are encouraged to showcase previous project methodologies used to fulfill obligations or similar projects related to the specified Service(s). Any references to names may be deleted to maintain confidentiality.
17 | N/A | Technical capabilities |  | Respondents need to provide details of technical capabilities to meet the requirements outlined in the Service Specification (if respondents have not provided the details in any other parts in this form). In addition, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities.
18 | N/A | Western Australian Industry Participation Plan (WAIPS) |  | Respondents must complete the Full Participation Plan through the link provided in the Final Service Specification 6.2.2.
19 | N/A | Regional Price Preferencing |  | To be eligible, respondents need to provide evidence that the business maintained a permanent operational office within 400 kilometers of the contract Point of Delivery, excluding the Perth Metropolitan Area.
20 | N/A | Cyber security |  | Respondents are required, where applicable, to adhere to the AESCSF when the NCESS provider or any of its subcontractors develops, accesses, transmits, processes, stores, or otherwise handles Western Power sensitive operational information or other sensitive data. Please provide information on the type of cybersecurity framework that will be used.

## Service Specification
Paragraph | Content | Facility or equipment applicable to | Complies (Y/N) | Quantity | Details | Supporting Documents
| Service details | Network Support Services
| Service requirements | Network Support Services
2.1.1 | This NCESS Service Specification is for Network Support Services within the areas that are supplied by Western Power’s Geraldton, Chapman and Rangeway distribution networks. The required service is the capability to curtail DER generation or increase demand at times of the system minimum demand during which times the North Country network needs to be operated in a standalone island configuration and supplied by a local power station i.e. when the supply on both TS-MBA 81 and TS-MGA 81 or TS-MBA 81 and MBA-MGA 81 transmission lines are interrupted as shown in figure 1.1. This Service opportunity is open to both existing and new facilities and the facility is not required to be registered. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.1.2 | It has been observed from the operational experience that a minimum demand of 10MW is required at this power station for operational stability. Outages are typically over several days, multiple times per year. On minimum demand days the total electricity demand can go as low as 2MW. | Network Support Services
2.1.3 | The NSS will be seeking for DER generation reduction or an increase in energy demand increase to ensure operational demand in the region is maintained above 10MW in the event of a transmission outage where the Geraldton area will form an islanded network. | Network Support Services
| Expected technical capability of a facility or equipment that may be able to provide the Service | Network Support Services
2.2.1 | The expected technical capability of a facility or equipment that may be able to provide the NSS must be sufficient to form and sustain a DER generation reduction or an increase in energy demand in line with the following requirements: - providing the DER generation reduction or an increase in energy demand as agreed in the NCESS Contract, within the Activation Period and on issuing of an Activation Notice; - sustaining the NSS for no less than 4 hours; and - sustaining the NSS at the level as described for the NSS location. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.2.2 | A NCESS provider is required to comply with all applicable ESM Rules | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Service location | Network Support Services
2.3 | The NSS is required at the locations shown in Table 2. The facilities providing the NSS must be electrically connected to the Distribution feeders supplied from the zone substations outlined in Table 2 | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Maximum Service Quantity required | Network Support Services
2.4.1 | Submission(s) response to this Final NCESS Service Specification must specify a Service Quantity. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MVA)
2.4.2 | The Service Quantity must be in accordance with the minimum and maximum provisions specified in section 2 | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.4.3 | The maximum Service Quantity required from all NCESS providers is shown in table 2 | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Contract Term and expected Service utilisation | Network Support Services
2.5.1 | The contract term will have an anticipated expiry on the 31st December 2028 (irrespective of Contract Commencement). The contract duration is expected between1 to 3 years, with the earliest Contract Commencement available from January 2026, dependent on service availability and internal Western Power approvals. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Indicate number of years for the Contract
2.5.2 | The NCESS provider must make the NSS available for Western Power to call upon as required. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.3 | The service will be activated between the hours of 8:30AM and 4:30PM AWST or parts thereof. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.4 | The service will need to be available for any day, with the NSS being called on as a priority to any other services contracted | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.5 | The contracted service is expected to be called upon no more than 10 days each calendar year for a duration up to a maximum of 8 hours for each Activation Period | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.5.6 | Activation will typically be with 1 (one) day advance notice. Multiple providers for this service will be considered for both the duration and the service quantity | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Operational requirements or limitiations | Network Support Services
| Control and communication requirements | Network Support Services
3.1.1 | The NCESS provider must provide a communication process and system that: a. Receives and acknowledges an Activation Notice from Western Power b. Provides the verification data detailed in 3.1.2 c. Is able to safely integrate with Western Power, enabling Western Power’s receipt of the data covered in section 3.1 | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2 | The NCESS provider must provide 5 minute time series data for all NMIs providing the Service for each time interval commencing 30mins prior to the NSS Activation start until the end, including: • Time stamp (interval start and end) • NMI • DER type/load type • DER/load Control signal • DER/load active power • Total NSS active power, that is increase in energy consumption and/or reduction of DER generation | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.3 | Western Power will provide an Activation Notice 12-24 hours in advance of the Service being required |  | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Minimum availability requirement | Network Support Services
3.2.1 | A minimum availability of 95% is required. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.2 | The NCESS provider must notify Western Power promptly after changing or modifying the Service and/or equipment in a way that reduces or could reasonably be expected to reduce the availability of the Service. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.3 | Western Power will require the NCESS provider (at the NCESS provider’s cost) to conduct a test of the Service and/or equipment ahead of the NCESS Contract start to demonstrate that the Service complies with the NCESS Contract and with applicable standards, including but not limited to; the ESM rules, NQRS code and the Western Power technical rules. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.4 | The NCESS provider must take remedial action in the event of Service unavailability. | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.5 | In the event the Service is unavailable for Activation under the NCESS contract, there will be a reduction in payments by Western Power depending on the duration of the unavailability | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.6 | The NCESS provider must provide the participating NMIs associated with providing the Service aligned to the capacity agreed in the NCESS contract | Network Support Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.

## Pricing
Duration of contract | Service Type | Item | Compliant Price ($AUD) | Alternative Offers ($AUD) | Comments on basis of pricing arrangement, including alternative timeframes where applicable. (Optional)
3-year | Network Support Services | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
3-year | Network Support Services | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
3-year | Network Support Services | Alternative offer | NA | Respondents to list specifics of any alternative offer