## Questionnaire
P01966 - REGISTRATION OF INTEREST - STATION CLASS SURGE ARRESTERS - 24kV to 362kV
WESTERN POWER SPECIFICATION: AM-P0004 -25 24kV to 362kV STATION CLASS SURGE ARRESTERS
Questionnaire
Section | Question No. | Question | Supplier Response | Attachment / Reference | Additional Comments
Company Information | 1 | Provide your organisation’s name and address
| 2 | Is your organisation an OEM or a distributor?
| 3 | Do you have local support in Perth / Australia?
| 3a | How many accredited personnel are available to provide services related to assembly, troubleshooting, and maintenance?
Manufacturing Details | 4 | Provide the manufacturer’s name and address of the manufacturing facility/factory for station class surge arresters
| 5 | Provide a brief statement covering the OEM's company history and years of supply of the station class surge arrester
| 5a | Does the manufacturing facility have an endorsed independent external accreditation confirming compliance with ISO9001?
| 5b | What is the production capacity of the manufacturer?
Product Scope and Standards | 6 | Does your organisation provide the design, manufacturing, and delivery of station class surge arresters with a rated voltage of 24kV to 362kV?
| 7 | Are your products designed and manufactured in accordance with IEC 60099-4:2014 (surge arresters)?
| 8 | Western Power requires compliance with C5 corrosion grade environmental conditions. Confirm if your product meets this requirement and provide details
| 9 | Western Power requires polymeric insulator – specifically HTV silicone rubber with ATH fillers, in compliance with IEC 62217. Confirm the insulator material used in your station class surge arresters
| 10 | Can you provide an underslung surge arrester? Please provide details
| 11 | Are you able to provide surge counters for station class surge arresters (22kV to 362kV)?
Performance, Warranty, and Maintenance | 12 | Provide the nominated minimum specified service life of your station class surge arresters under normal operating conditions
| 12a | Statement of warranty period
| 13 | Number of failures or major performance issues in the last five years. Provide details and corrective actions taken
| 13a | Maintenance schedule requirements
Client References | 14 | Provide a reference list of current clients using station class surge arresters (22kV to 362kV), including the quantities supplied and the voltage in Australia and overseas | Complete the table in Client References tab
Drawings and Lead Times | 15 | What is the lead time (in days) for providing GA drawings and schematics after order placement?
| 16 | What is the lead time (in days) from order placement to delivery?
Benefits to Western Australia | 17 | Describe your organisation’s current contribution to the Western Australian economy
| 17a | Local employment or workforce involvement
| 17b | Use of local suppliers or subcontractors for logistics, transport, warehousing, or other services
| 17c | Quantitative information where available (e.g., % of spend in WA, number of WA-based employees, value of contracts with local subcontractors)
Safety | 18 | Has your organisation, including parent and subsidiary entities, been fatality-free for the last five years?
| 19 | What is your rolling 12-month Total Recordable Injury Frequency Rate (TRIFR)?
| 20 | Does your organisation have an established SHE management system aligned to AS/NZS 4801, OHSAS 18001, AS/NZS 14001, or an equivalent international standard?

## Client References
P01966 - REGISTRATION OF INTEREST - STATION CLASS SURGE ARRESTERS - 24kV to 362kV
WESTERN POWER SPECIFICATION: AM-P0004 -25 24kV to 362kV STATION CLASS SURGE ARRESTERS
Client References Table
Product Description | System Highest Voltage (kV) | Buyer Name | Location | Quantity Supplied | Year Supplied | Comments
Surge Arrester | 24
Surge Arrester | 36
Surge Arrester | 72.5
Surge Arrester | 145
Underslung Surge Arrester | 145
Surge Arrester | 245
Surge Arrester | 362
Surge Counter | 24 -362