## Distribution input form
Electricity Distribution Performance Reporting Form
Reporting year | FY2024-25
Licence holder | Western Power (EDL1)
Contact person name
Position
Email address | enquiry@westernpower.com.au
Phone number | 13 10 87
Reporting category | Description | Indicator | Unit | Data input | Comments
Network & Asset Information
Customer connections
| New connections provided | CCD1 | Number of | 20060
| New connections not provided by the agreed date | CCD2 | Number of | 241
| Reconnections provided | CCD4 | Number of | 29333
| Reconnections that were not provided within the prescribed time | CCD5 | Number of | 73
| Connections on the distribution system as of June 30 | CCD7 | Number of | 1217607 | The number of 1,218,307 reported in 2023/24 was overstated as it included connections using more than 160MWh/annum. The correct number for 2023/24 was 1,201,830. The reporting criteria used by Western Power has been inaccurate for several reporting periods because a report for connections below 160MWh was not available and incorrect assumptions were made when reporting. A newly developed report has corrected the inaccuracies, and this report is a solid base for future reporting. See attached sheet "CCD7 Note"
Metered supply points by feeder category (customer type) |  | NQR12
Residential
| Perth CBD only |  | Number of | 3807
| Urban areas excluding Perth CBD |  | Number of | 561826 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | Number of | 443683
| Long rural |  | Number of | 72743
| Standalone power systems |  | Number of | 286
Non-residential
| Perth CBD only |  | Number of | 2497
| Urban areas excluding Perth CBD |  | Number of | 73865 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | Number of | 45099
| Long rural |  | Number of | 32232
| Standalone power systems |  | Number of | 31
Metered supply points by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | Number of |  | N/A
| Urban areas excluding Perth CBD |  | Number of |  | N/A
| Short rural |  | Number of |  | N/A
| Long rural |  | Number of |  | N/A
| Standalone power systems |  | Number of |  | N/A
High voltage
| Perth CBD only |  | Number of | 61
| Urban areas excluding Perth CBD |  | Number of | 323 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | Number of | 147
| Long rural |  | Number of | 31
| Standalone power systems |  | Number of |  | N/A
Low voltage
| Perth CBD only |  | Number of | 6243
| Urban areas excluding Perth CBD |  | Number of | 635368 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | Number of | 488635
| Long rural |  | Number of | 104944
| Standalone power systems |  | Number of | 317
Unmetered supply points |  | NQR13
| Perth CBD only |  | Number of | 437
| Urban areas excluding Perth CBD |  | Number of | 10522 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | Number of | 6878
| Long rural |  | Number of | 987
Street lights
| Street lights reported faulty in the metropolitan area | CCD24 | Number of | 37368
| Street lights reported faulty in regional areas | CCD25 | Number of | 6306 | The 12.7% increase in regional fault reports was partly due to 243 faults reported in bulk by two LGA's and Main Roads. The variance was also impacted by under reporting in 2023/24 which was included in 2024/25.
| Street lights not repaired within five days in the metropolitan area | CCD26 | Number of | 8036
| Street lights not repaired within nine days in regional areas | CCD28 | Number of | 692 | Street lights not repaired within nine days in regional areas reduced from 917 in 2023/24 to 692 in 2024/25. This improvement was achieved due to changes in the reporting structure and a weekly KPI focus on managing the work. This renewed focus resulted in efficiencies being created for streetlight repairs in the regions, and the marked improvement in SLA achievement.
| Street lights in the metropolitan area as of June 30 | CCD30 | Number of | 250398
| Street lights in regional areas as of June 30 | CCD31 | Number of | 42473
| Mean number of days to repair faulty street lights in the metropolitan area | CCD32 | Days | 4.3
| Mean number of days to repair faulty street lights in the regional area | CCD33 | Days | 8.1
Energy delivered by feeder category (customer type) |  | NQR14
Residential
| Perth CBD only |  | GWh | 17.3874
| Urban areas excluding Perth CBD |  | GWh | 2612.4812 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | GWh | 2187.4704
| Long rural |  | GWh | 366.9456
Non-residential
| Perth CBD only |  | GWh | 515.4904
| Urban areas excluding Perth CBD |  | GWh | 5529.7976 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | GWh | 2586.9673
| Long rural |  | GWh | 811.7862
Energy delivered by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | GWh |  | N/A
| Urban areas excluding Perth CBD |  | GWh |  | N/A
| Short rural |  | GWh |  | N/A
| Long rural |  | GWh |  | N/A
High voltage
| Perth CBD only |  | GWh | 211.6286
| Urban areas excluding Perth CBD |  | GWh | 2707.865 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | GWh | 986.9064
| Long rural |  | GWh | 182.4639
Low voltage
| Perth CBD only |  | GWh | 311.9244
| Urban areas excluding Perth CBD |  | GWh | 5408.9861 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | GWh | 3819.7748
| Long rural |  | GWh | 998.7768
Line length by feeder category (line type) |  | NQR15
Underground lines
| Perth CBD only |  | km | 240.5997
| Urban areas excluding Perth CBD |  | km | 13572.9357 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | km | 13935.0519
| Long rural |  | km | 3656.3128
Overhead lines
| Perth CBD only |  | km | 0.20752
| Urban areas excluding Perth CBD |  | km | 4676.9933 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | km | 11994.7715
| Long rural |  | km | 49232.0277
Line length by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | km |  | N/A
| Urban areas excluding Perth CBD |  | km |  | N/A
| Short rural |  | km |  | N/A
| Long rural |  | km |  | N/A
High voltage
| Perth CBD only |  | km | 135.4647
| Urban areas excluding Perth CBD |  | km | 4773.9988 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | km | 11587.875
| Long rural |  | km | 50131.2615
Low voltage
| Perth CBD only |  | km | 100.6622
| Urban areas excluding Perth CBD |  | km | 13284.8851 | Figures in non-Perth CBD areas may not be comparible to previous reporting periods due to annual adjustments of SCNRRR feeder classifications
| Short rural |  | km | 14206.2135
| Long rural |  | km | 3088.5392
Other asset information
| Sub-transmission transformers | NQR16 | Number of | 292
| Total capacity of sub-transmission transformers |  | MVA | 8080
| Distribution transformers |  | Number of | 71038
| Total capacity of distribution transformers |  | MVA | 11453
| Total distribution losses | NQR17 | Percentage | 4.536%
| Size of network service area | NQR18 | km2 | 255064
| Total poles | NQR19 | Number of | 793079
| Peak electrical demand | NQR20 | MW | 3897.6
Network Reliability
Extended or frequent interruptions
| Small use customer premises interrupted for more than 12 hours continuously (whole network) | NQR1 | Number of | 61901
| Interruptions to small use customers that lasted for more than 12 hours continuously (whole network) |  | Number of | 2294
| Small use customer premises interrupted more than 9 times (urban areas) | NQR2 | Number of | 8752
| Small use customer premises interrupted more than 16 times (non-urban areas) |  | Number of | 4671
Mean duration of supply interruption to premises for each discrete area |  | NQR3
| Perth CBD only |  | Minutes | 96.9561
| Urban areas excluding Perth CBD |  | Minutes | 154.7565
| Non-urban areas |  | Minutes | 180.277
| Standalone power systems |  | Minutes | 437.5
Mean number of supply interruptions to premises for each discrete area |  | NQR4
| Perth CBD only |  | Number | 0.5955
| Urban areas excluding Perth CBD |  | Number | 2.1507
| Non-urban areas |  | Number | 5.7209
| Standalone power systems |  | Number | 0.57
Mean percentage of time that electricity has been supplied to premises for each discrete area |  | NQR5
| Perth CBD only |  | Percentage | 99.99%
| Urban areas excluding Perth CBD |  | Percentage | 99.94%
| Non-urban areas |  | Percentage | 99.8%
| Standalone power systems |  | Percentage | 99.95%
Mean cumulative duration of supply interruptions to premises |  | NQR6
| Perth CBD only |  | Minutes | 52.347
| Urban areas excluding Perth CBD |  | Minutes | 332.8926
| Non-urban areas |  | Minutes | 1039.9461
| Standalone power systems |  | Minutes | 248.5
SAIDI & SAIFI inputs
Customer base |  | FC1-12
| Perth CBD only |  | Number of | 6089.75
| Urban areas excluding Perth CBD |  | Number of | 631048.9167
| Short rural |  | Number of | 476356.5
| Long rural |  | Number of | 104182.4167
Sum of all customer outage durations (total network)
| Perth CBD only |  | Minutes | 180668
| Urban areas excluding Perth CBD |  | Minutes | 188281925.4
| Short rural |  | Minutes | 194912854.7
| Long rural |  | Minutes | 149771996
Sum of all customer outage durations (distribution network - planned)
| Perth CBD only |  | Minutes | 42402
| Urban areas excluding Perth CBD |  | Minutes | 74196193.4
| Short rural |  | Minutes | 68469407.7
| Long rural |  | Minutes | 55255886
Sum of all customer outage durations (distribution network - unplanned)
| Perth CBD only |  | Minutes | 134683
| Urban areas excluding Perth CBD |  | Minutes | 113027617
| Short rural |  | Minutes | 125064055
| Long rural |  | Minutes | 94052509
Sum of all customer outage durations (normalised distribution network)
| Perth CBD only |  | Minutes | 134683
| Urban areas excluding Perth CBD |  | Minutes | 73533948
| Short rural |  | Minutes | 80709920
| Long rural |  | Minutes | 70674569
Unique customer interruptions (total network)
| Perth CBD only |  | Number of | 4712
| Urban areas excluding Perth CBD |  | Number of | 1192569
| Short rural |  | Number of | 1362761
| Long rural |  | Number of | 717932
Unique customer interruptions (distribution network - planned)
| Perth CBD only |  | Number of | 121
| Urban areas excluding Perth CBD |  | Number of | 240752
| Short rural |  | Number of | 220020
| Long rural |  | Number of | 165882
Unique customer interruptions (distribution network - unplanned)
| Perth CBD only |  | Number of | 4534
| Urban areas excluding Perth CBD |  | Number of | 944401
| Short rural |  | Number of | 1127153
| Long rural |  | Number of | 549960
Unique customer interruptions (normalised distribution network)
| Perth CBD only |  | Number of | 4534
| Urban areas excluding Perth CBD |  | Number of | 818799
| Short rural |  | Number of | 1014800
| Long rural |  | Number of | 523192
Customer service
NQR Code complaints |  | NQR8
| Perth CBD only |  | Number of | 5
| Urban areas excluding Perth CBD |  | Number of | 697 | Excludes 126 escalated issues resolved at first contact
| Standalone power systems |  | Number of | 7
| All other areas |  | Number of | 342 | Excludes 38 escalated issues resolved at first contact
| Total amount spent addressing NQ&R Code complaints (that Part 2, or an instrument made under section 14(3) of the NQ&R Code, has not been, or is not being, complied with) other than by way of payment under sections 18 and 19 of the NQ&R Code | NQR9 | Dollars | 849985
| Total number of NQR Code complaints received (that Part 2, or an instrument made under section 14(3) of the NQR Code, has not been, or is not being, complied with) | NQR7 | Number of | 1,215.0 | (Resolved first point of contact = 164 Requiring formal response = 1044(non-SPS) Requiring formal response SPS= 7 Total = 1215)
| NQR Code complaints concluded within 15 business days | NQR7A | Number of | 1208 | ( Resolved at first point of contact = 164 Requiring formal response = 1044 Total concluded in 15 days = 1208)
Non-NQR Code complaints
| Complaints received total (excluding NQR7 complaints) | CCD8 | Number of | 1062
| Administrative process or customer service complaints | CCD9 | Number of | 329
| Miscellaneous complaints | CCD10 | Number of | 733
| Customer complaints concluded within 15 business days (excluding NQR7 complaints) | CCD11 | Number of | 981
| Customer complaints concluded within 20 business days (excluding NQR7 complaints) | CCD13 | Number of | 1061
| Complaints about the installation or operation of a pre-payment meter at a customer's supply address | CCD19 | Number of | 0
| Pre-payment meter complaints resolved within 15 business days | CCD20 | Number of | 0
Call centre performance
| Telephone calls to a call centre of the distributor | CCD34 | Number of | 319749
| Telephone calls to a call centre answered within 30 seconds | CCD35 | Number of | 238422 | There was an 11.6% improvement from the 2023/24 period, primarily as there were fewer major weather events in 2024/25. This resulted in customer enquiries being spread more evenly across days, which resulted in a stronger performance.
| Mean period before a call is answered | CCD37 | Seconds | 42 | There was a 108.5% improvement from the prior period due to a reduction in major events experienced, which was a key contributing factor to this service improvement
| Calls unanswered | CCD38 | Number of | 21024 | his was a 22.5% improvement. As emergency and fault calls are prioritised during busy periods,the reduction in major events allowed for a reduction in prioritisation of staff towards faults allowing for a quicker response time on the General enquiries line resulting in less customers abandoning their calls due to wait times.
Compensation payments
| Payments made under clause 98 of the Code of Conduct | CCD22 | Number of | 1
| Total amount paid under clause 98 of the Code of Conduct |  | Dollars | 50
| Payments made under clause 97 of the Code of Conduct | CCD23 | Number of | 2
| Total amount paid under clause 97 of the Code of Conduct |  | Dollars | 300 | One customer was disconnected for 1 day and one customer for 2 days ($100/day)
| Section 18 NQR Code payments made | NQR10 | Number of | 362
| Section 18 NQR Code payment sum |  | Dollars | 7240
| Section 19 NQR Code payments made | NQR11 | Number of | 28463 | 28,449 x $120 + 14 x $240 = $3,417,240
| Section 19 NQR Code payment sum |  | Dollars | 3417240

## CCD7 Note
The number of 1,218,307 reported in 2023/24 was overstated as it included connections using more than 160MWh/annum. The correct number for 2023/24 was 1,201,896. The reporting criteria used by Western Power has been incorrect for several reporting periods because a report for connections below 160MWh was not available and incorrect assumptions were made when reporting. A newly developed report has highlighted the incorrect criteria and this report is a solid base for future reporting.
The correct number of connections for the past 4 reporting periods are:
Reporting period | Correct number of connections for customers consuming <=160MWh/annum | Incorrectly reported number of connections for customers consuming <=160MWh/annum
2024/25 | 1217767 | N/A
2023/24 | 1201830 | 1218307
2022/23 | 1187816 | 1205535
2021/22 | 1174435 | 1187153
2020/21 | 1160209 | 1175528
2019/20 | 1136698 | 1162601
2018/19 | 1127499 | 1152904
2017/18 | 1117149 | 1141308
2016/17 | 1104963 | 1128334
2015/16 | 1087989 | 1110196
2014/15 | 1065432 | 1085657

## Data and derived distribution (hidden)
Reporting years | FY2023-24
FY2024-25
FY2025-26
FY2026-27
FY2027-28
FY2028-29
FY2029-30
Licencees
Western Power (EDL1)
BHP Nickel West Pty Ltd (EDL2)
TEC Desert Pty Ltd & TEC Desert No. 2 Pty Ltd (EDL3)
Peel Renewable Energy Pty Ltd (EDL7)
Goldfields Power Pty Ltd (EDL8)
Ocean Reef Renewable Energy Pty Ltd (EDL9)
Eglinton Village Energy Pty Ltd (EDL10)
Horizon Power (EIRL2)
Rottnest Island Authority (EIRL3)
SAIDI
Overall
| Whole network | Minutes | 437.8396
| Perth CBD only | Minutes | 29.6676
| Urban areas excluding Perth CBD | Minutes | 298.3634
| Short rural | Minutes | 409.1743
| Long rural | Minutes | 1437.5938
Distribution network - planned
| Whole network | Minutes | 162.575
| Perth CBD only | Minutes | 6.9628
| Urban areas excluding Perth CBD | Minutes | 117.576
| Short rural | Minutes | 143.7356
| Long rural | Minutes | 530.3763
Distribution network - unplanned
| Whole network | Minutes | 272.8792
| Perth CBD only | Minutes | 22.1163
| Urban areas excluding Perth CBD | Minutes | 179.1107
| Short rural | Minutes | 262.543
| Long rural | Minutes | 902.7676
Normalised distribution network
| Whole network | Minutes | 184.8216
| Perth CBD only | Minutes | 22.1163
| Urban areas excluding Perth CBD | Minutes | 116.5265
| Short rural | Minutes | 169.4318
| Long rural | Minutes | 678.3733
SAIFI
Overall
| Whole network | Number of | 2.692
| Perth CBD only | Number of | 0.77376
| All urban areas | Number of | 1.8898
| Short rural | Number of | 2.8608
| Long rural | Number of | 6.8911
Distribution network - planned
| Whole network | Number of | 0.51463
| Perth CBD only | Number of | 0.019869
| All urban areas | Number of | 0.38151
| Short rural | Number of | 0.46188
| Long rural | Number of | 1.5922
Distribution network - unplanned
| Whole network | Number of | 2.1566
| Perth CBD only | Number of | 0.74453
| All urban areas | Number of | 1.4966
| Short rural | Number of | 2.3662
| Long rural | Number of | 5.2788
Normalised distribution network
| Whole network | Number of | 1.9392
| Perth CBD only | Number of | 0
| All urban areas | Number of | 0
| Short rural | Number of | 0
| Long rural | Number of | 0
CAIDI
Cumulative duration of customer outages (net total)
| Whole network | SAIDI/SAIFI | 162.6454
| Perth CBD only | SAIDI/SAIFI | 38.3421
| All urban areas | SAIDI/SAIFI | 157.8793
| Short rural | SAIDI/SAIFI | 143.0279
| Long rural | SAIDI/SAIFI | 208.6159
Cumulative duration of customer outages (distribution network - planned)
| Whole network | SAIDI/SAIFI | 315.9062
| Perth CBD only | SAIDI/SAIFI | 350.4298
| All urban areas | SAIDI/SAIFI | 308.1852
| Short rural | SAIDI/SAIFI | 311.1963
| Long rural | SAIDI/SAIFI | 333.1036
Cumulative duration of customer outages (distribution network - unplanned)
| Whole network | SAIDI/SAIFI | 126.5319
| Perth CBD only | SAIDI/SAIFI | 29.7051
| All urban areas | SAIDI/SAIFI | 119.6818
| Short rural | SAIDI/SAIFI | 110.9557
| Long rural | SAIDI/SAIFI | 171.017
Cumulative duration of customer outages (normalised distribution network)
| Whole network | SAIDI/SAIFI | 95.308
| Perth CBD only | SAIDI/SAIFI | #DIV/0!
| All urban areas | SAIDI/SAIFI | #DIV/0!
| Short rural | SAIDI/SAIFI | #DIV/0!
| Long rural | SAIDI/SAIFI | #DIV/0!