## Instructions
Instructions
The Expressions of Interest process for NCESS procurement provides an opportunity for respondents to provide feedback to the draft NCESS Service Specification and include any alternative offers which may represent commercial or technical benefits to the WEM.
Respondents are requested to populate the following tabs in this spreadsheet:
EOI Response (as required by clause 3.11B.7 of the WEM Rules)
Respondents to respond to all questions using the green highlighted cells.
Italicised blue text is provided to guide participants as to the expected content where relevant.
Western Power is interested in exploring enhanced participation, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities. This may be indicated as an alternate offer.
Draft NCESS Service Specification (as required by clause 3.11B.9(a)ii of the WEM Rules)
Respondents to respond using the green highlighted cells.
The Service Specification tab includes all paragraphs in the provided draft Service Specification except sections:
|  |  | 1 | Introduction
|  |  | 2 | Service Requirements
|  |  | 3.5.2 | Planned and Unlpalled Outages
|  |  | 8 | Selection Criteria
Respondents should provide:
• Compliance indication (Y/N) to demonstrate where the respondent is able to comply with the Service Specification
- Please indicate N/A where the paragraph does not apply to the type of technology or equipment
• Quantity (as relevant) to indicate the quantity offered
• Alternatives/Feedback, to indicate any alternatives proposed to the Service Specification where the respondent considers there may be a commercial or technical benefit to the WEM.
The respondent may provide alternative pricing corresponding to alternate offers in the Pricing tab where relevant.
• Supporting Documents, to reference any supporting documentation provided by the respondent in their response
Pricing (as required by clause 3.11B.9(a)iii of the WEM Rules)
Respondents to respond to all questions using the green highlighted cells.
Italicised text is provided to guide participants as to the expected content where relevant.
Western Power requests pricing information for two separate contract durations: 5, and 10 years. Information provided will inform the contract duration in the final NCESS Service Specification. Alternative offer could include shorter number of service years, please provide details in the comments section.
Submission of EOI
Responses must be submitted to Western Power EOI registration of interest online collection form.
by 5:00pm AWST on Monday 20 May 2024.
To be valid, responses must include:
The populated NCESS Expression of Interest Submission Form - Eastern Goldfields (.xlsx)
Any supporting documentation
How to indicate compliance
Western Power has indicated the portions of the Draft NCESS Specification that require an indication of compliance. For the expression of interest, Western Power will use the indication of compliance (as well as comments provided) to assess the appropriateness of the Draft NCESS Service Specification. However, several parts of the Draft NCESS Service Specification allow Western Power to agree variations. In the NCESS Submission Form under 'compliance': a) If your project complies with the requirement, indicate 'yes'. b) If your project is unable to comply with the stated requirements, but the requirement allows Western Power to agree a variation, indicate 'yes' and provide additional comments in the feedback section.

## EOI Response
Item | Clause | Request | EOI Response | Guidance Notes
1 | 3.11B.7(a) | The name and type of facility or equipment, and whether it is registered or intending to register under the WEM Rules
2 | 3.11B.7(b) | The name of the Market Participant, or service provider, as applicable, in respect to the facility or equipment
3 | 3.11B.7(c) | The quantity of service the facility or equipment will provide for the NCESS |  | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification. A prospective NCESS provider may offer either a reliability service or a system strength service, or both, that can fully or partially meet the relevant service requirements.
4 | 3.11B.7(d) | The timing and duration of the service availability for the NCESS |  | Respondents should identify any limits that may apply to their Facility in complying with the period specified in the Service Specification.
5 | 3.11B.7(e) | The location of the facility or equipment on the network
6 | 3.11B.7(f) | Any operational requirements or limitations that must be respected for use of the facility or equipment for the NCESS
7 | 3.11B.7(g) | Where the NCESS Submission is made in respect to a type of technology that would ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it will be able to meet the relevant requirements in clause 4.10.1 for at least the first Reserve Capacity Cycle coinciding with the period of the NCESS Contract. |  | Whether the Market Participant or service provider, as applicable, intends to participate in the 2024 Reserve Capacity Cycle; and if so, relevant information on steps taken in preparation for that application.
8 | 3.11B.7(gA) | Where the NCESS Submission is made in respect to a type of technology that would not ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it is not able to meet the relevant requirements of clause 4.10.1.
9 | 3.11B.7(h) | Whether the facility or equipment participates, or will participate, in Central Dispatch or is accredited or will be accredited under these Market Rules to provide an Essential System Service
10 | 3.11B.7(i) | the fixed costs for that facility or equipment applicable for the period of the NCESS Contract, including any Capacity Credit payments expected or received |  | Respondents should provide a price per year to be available in accordance with the Service Specification
11 | 3.11B.7(iA) | If the facility or equipment would ordinarily be capable of being assigned Certified Reserve Capacity, whether the Market Participant, or service provider, would require any reimbursement of any Capacity Cost Refunds it must pay as a direct consequence of the enablement or dispatch of the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
12 | 3.11B.7(j) | The highest price at which the facility or equipment will provide the NCESS when enabled or dispatched
13 | 3.11B.7(k) | Any other payment that the facility or equipment requires to provide the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
14 | N/A | Evidence to support NCESS delivery dates |  | Please provide details for project delivery, including a Gantt chart or an equivalent representation, along with the milestones necessary to achieve commercial operations by 01 July 2026.
15 | N/A | Evidence to support Environmental Approvals |  | Respondents are required to provide evidence of approval for existing facilities. For new facilities or equipment, respondents must provide evidence of approval sought in delivery dates or milestones.
16 | N/A | Project methodology |  | Respondents are required to provide the project methodologies that will be applied to manage the delivery of the proposed solution, ensuring it meets the requirements outlined in the Service Specification. Additionally, respondents are encouraged to showcase previous project methodologies used to fulfill obligations or similar projects related to the specified Service(s). Any references to names may be deleted to maintain confidentiality.
17 | N/A | Technical capabilities |  | Respondents need to provide details of technical capabilities to meet the requirements outlined in the Service Specification (if respondents have not provided the details in any other parts in this form). In addition, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities.
18 | N/A | Western Australian Industry Participation Plan (WAIPS) |  | Respondents must complete the Full Participation Plan and attach it in this response.
19 | N/A | Regional Price Preferencing |  | To be eligible, respondents need to provide evidence that the business maintained a permanent operational office within 400 kilometers of the contract Point of Delivery, excluding the Perth Metropolitan Area.
20 | N/A | Cyber security |  | Respondents are required, where applicable, to adhere to the AESCSF when the NCESS provider or any of its subcontractors develops, accesses, transmits, processes, stores, or otherwise handles Western Power sensitive operational information or other sensitive data. Please provide information on the type of cybersecurity framework that will be used.
21 | N/A | Aboriginal participation |  | The Western Australian Government mandates that qualifying construction and maintenance contracts with value $5 million and above must meet one of two Aboriginal Participation targets. The Tenderer must choose either to subcontract 4% of the total contract value to registered Aboriginal businesses or engage a minimum of 5% of the contract labour force who are Aboriginal persons in each year of contract delivery. Please choose which target will apply for your proposal and outline in an attachment how you plan to achieve this target.

## Service Specification (WP)
Paragraph | Content | Facility or equipment applicable to | Complies (Y/N) | Quantity | Alternatives/Feedback | Supporting Documents
| Reliability Service | Relability Service
3.1.1 | The Reliability Service is required to provide a System Restart Service for the EGF Island in the event there is total loss of supply. The System Restart Service is required to be fully redundant (N 1) to provide adequate security for planned or unplanned contingencies; this can be provided either by the same Service offering or across multiple NCESS Services (provided the desired N-1 functionality is achieved). | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2 | A NCESS provider must ensure the configuration of equipment must be capable of providing the following: | Relability Service
3.1.2(a) | General requirements (whether for capacity or System Restart Service purposes): | Relability Service
3.1.2(a)(i) | Be capable of synchronizing and changing its rate of Injection or Withdrawal within 15 minutes of receiving a Dispatch Instruction from AEMO. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(a)(ii) | Comply with the terms of the NCESS provider connection agreement, including any obligation(s) to comply with the Technical Rules (TR) and/or WEM Rules. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(a)(iii) | Provide Active Power Capability that meets the required Service Quantity at local temperature conditions as specified in the TR or WEM Rules as applicable. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(a)(iv) | NCESS providers to specify the minimum load that would ensure stability under normal operating conditions and during isochronous operation. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(a)(v) | Provide SCADA and duplicate protection/telecommunication systems to enable remote monitoring, emergency control (including remote resetting) and communication between AEMO, Western Power and the provider's Service. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(b) | Specific System Restart Service requirements (within the EGF region): | Relability Service
3.1.2(b)(i) | Allow remote start functionality for all System Restart Services, such that they can be connected to a dead bus at full speed with no load within 15 minutes of AEMO issuing a System Restart Service start-up command. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(b)(ii) | Able to operate in stable condition with no load to energise transmission and distribution networks as necessary. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.2(b)(iii) | The System Restart Service must be able to run automatically to supply the auxiliary system upon detecting a total loss of supply to enable the restart process. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.1.3 | The general technical requirements of Section 5 are also required to be met as part of the Reliability Service offering. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Service location
3.2.1 | The Reliability Service is required to be connected to the South West Interconnected System (SWIS) within the 132kV system of the EGF region. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.2 | NCESS providers interested in discussing access to land in the EGF region are encouraged to contact Development WA at contact@developmentwa.com.au. | Relability Service
Maximum Service Quantity
3.3.1 | The maximum quantity of the Reliability Service required (from all NCESS providers, collectively) is 150 MW. This may be provided by either a single provider or several different providers across multiple Services and/or locations. | Relability Service
3.3.2 | An NCESS Submission must specify a Service Quantity up to 150 MW. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MW)
3.3.3 | If the Reliability Service is not offered, the Service Quantity must be specified as 0 MW. | Relability Service
Expected commencement and duration of Service
3.4.1 | The expected commencement date for the Reliability Service is 1 July 2026. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.2 | The expected end date for the Reliability Service is 30 June 2031. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3 | The Contract Term may be extended for an additional five (5) years beyond the initial term. | Relability Service
3.4.4 | The NCESS provider must ensure that by 1 October 2026 each Service has been issued: - an Interim Approval to Generate Notification or an Approval to Generate Notification in accordance with the WEM Rules; or - an Interim Approval to Operate or an Approval to Operate in accordance with the TR and Western Power requirements. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.5 | The NCESS provider must ensure that each Service is available for all necessary tests of the agreed Service requirement to achieve the Service requirement dates above. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Expected Service utilisation
3.5.1 | The Reliability Service is required to operate under all system conditions (i.e. both for situations triggered by an outage of the 220kV transmission line connecting the EGF with the SWIS, as well as for intact network situations) and called upon as required at Western Power's discretion. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.5.3 | Western Power requires NCESS providers to provide coverage for a continuous outage duration of up to four (4) weeks (up to their specified maximum capability). | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.5.4 | Service providers of the Reliability Service must provide evidence of the equipment's capability to meet utilisation requirements. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Operational requirements / limitations
3.6.1 | The Reliability Service is required to operate under the following conditions: a. A planned event (including pre-outage preparations) resulting in the islanding of the EGF network (i.e. deliberate operational intervention to establish an EGF Island). b. An unplanned event resulting in the islanding of the EGF network (i.e. in response to the loss of the 220kV transmission line to the EGF due to faults or any other unexpected triggers). | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
System Strength Service
Expected technical capability
4.1.1 | The System Strength Service is measured as fault level contribution (in MVA) measured at the WKT 220 kV bus , for the purposes of, but not limited to: a. Maintaining voltage stability (avoid excessive step-change disturbances). b. Increasing fault levels in weak parts of the network; in turn, ensuring protection equipment operates correctly (adequate clearance times and appropriate coordination). c. Avoiding unstable operation of inverter-based resources and generator control systems (alleviating risk of unstable operation, power oscillations, etc.). d. Maintaining power quality obligations (minimise harmonic distortion). | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.1.2 | The general technical requirements of Section 5 are required to be met as part of this System Strength Service offering. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Service location
4.2.1 | The Service is required to be connected to the SWIS within the EGF region in reasonable proximity to the existing WKT substation. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.2.2 | NCESS providers interested in discussing access to land in the EGF region are encouraged to contact Development WA at contact@developmentwa.com.au. | System Strength Service
Maximum Service Quantity
4.3.1 | The maximum quantity of the System Strength Service required (from all NCESS providers) is 1,500 MVA of three-phase fault level contribution measured at the WKT 220kV bus. This may be provided by either a single provider or several different providers across multiple Services and/or locations. | System Strength Service
4.3.2 | An NCESS Submission must specify a Service Quantity of up to 1,500 MVA. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MVA)
4.3.3 | If the System Strength Service is not offered, the Service Quantity must be specified as 0 MVA. | System Strength Service
Expected commencement and duration of Service
4.4.1 | The expected commencement date for the System Strength Service is 1 July 2026. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.4.2 | The expected end date for the System Strength Service is 30 June 2031. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.4.3 | The Contract Term may be extended by agreement for an additional five (5) years beyond the initial term. | System Strength Service
4.4.4 | The NCESS provider must ensure that each Service has been issued by 1 October 2026: a. an Interim Approval to Generate Notification or an Approval to Generate Notification in accordance with the WEM Rules, or; b. an Interim Approval to Operate or an Approval to Operate in accordance with the TR and Western Power requirements. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.4.5 | The NCESS provider must ensure that each Service is available for all necessary tests of the agreed Service requirement to achieve the Service requirement dates above. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Expected Service utilisation
4.5.1 | The System Strength Service is required to be available to operate under all system conditions, as directed by AEMO. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.5.2 | Service Providers of the System Strength Service must provide evidence of the equipment's capability to meet utilisation requirements. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
General technical requirements
5.1.1 | Notwithstanding the specific Reliability and System Strength Service requirements (detailed in Sections 3 and 4 respectively), the following section outlines general requirements that all NCESS equipment must demonstrate compliance with. | All Services
Electrical requirements
5.2.1 | All NCESS Submissions must comply with all relevant technical compliance standards, including but not limited to: | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
a. | WEM Rules: https://www.wa.gov.au/government/document-collections/wholesale-electricity-market-rules | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
b. | Network Quality and Reliability of Supply Code: https://www.legislation.wa.gov.au/legislation/statutes.nsf/main_mrtitle_1349_homepage.html | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
c. | Western Power's Technical Rules: https://www.westernpower.com.au/resources-education/manuals-guides-standards/technical-rules/ | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
d. | Generator and Load Model Guidelines: https://www.westernpower.com.au/resources-education/manuals-guides-standards/ | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Maintenance
5.3.1 | The NCESS provider must: a. maintain the Service equipment in accordance with good electricity industry practice; and b. notify and coordinate outages with Western Power as soon as the NCESS provider becomes aware of any requirement for planned or unplanned maintenance that affects, or could reasonably be expected to affect, the ability of the equipment to provide the Service Quantity. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.3.2 | The NCESS provider must plan maintenance in accordance with clause 3.18 of the WEM Rules. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.3.3 | The technician/expert is to be on site at the NCESS equipment location within 12 hours of a call out. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.3.4 | The NCESS provider must supply Western Power with their asset management strategy. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Electrical protection
5.4.1 | The NCESS provider must ensure that each of the Services supplied have the appropriate sensors and protection systems installed to comply with relevant sections of the TR, in particular Section 3.3.3.8 and 3.5. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.4.2 | The exact protection arrangement is subject to discussion and finalisation with Western Power prior to the completion of the design phase. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Documents / drawings required
5.5.1 | The NCESS provider must provide all document and drawings required by Western Power during the connection of the facility to meet typical project phases/milestones, including but not limited to: a. Specification sheets for all Services offered in the NCESS Submission. b. General arrangement and schematic diagrams for the Service. c. An adequate and accurate computer model of each Service. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Monitoring and control system requirements
5.6.1 | The NCESS provider must ensure compliance to relevant sections of the TR which mandate reliable SCADA and telecommunication system to enable remote monitoring, communication, and emergency control (in particular, clause 3.3.4) or comply with the requirements of Chapter 3A and Appendix 12 of the WEM Rules (or prevailing standards at the time of connection). | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Communication system
5.7.1 | The NCESS provider must ensure that the NCESS SCADA system offered provides: a. Western Power with a 24-hour online monitoring system via a reliable telecommunication system to all generators; and b. At least two (2) independent telecommunication systems between Western Power and the NCESS provider to communicate with Western Power’s systems. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Availability
5.8.1 | Higher level of availability requirements are preferred (95%), however lower availability may also be considered. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.2 | The NCESS provider must notify Western Power promptly after changing or modifying the Service and/or equipment in a way that reduces or could reasonably be expected to reduce the availability of the Service. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.3 | Western Power may require the NCESS provider (at the NCESS provider's cost) to conduct a test of the Service and/or equipment (in its changed or modified configuration) to demonstrate that the Service complies with applicable standards. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.4 | The NCESS provider must take remedial action in the event of Service unavailability. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.5 | In the event the Service is unavailable, there will be a reduction in payments by Western Power depending on the duration of the unavailability . | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Payment Structure
Monthly Fixed Fee
6.1.1 | The monthly fixed fee is the fixed price for the relevant month. | All
6.1.2 | The fixed price is to be calculated prior to the commencement of each quarter adjusted by the CPI. | All
Monthly Variable Fee
6.2.1 | The monthly variable fee is the sum of the Trading Intervals variable fee including the generating fee, additional costs, starting fee, and other fees relating to the operation of the Service. | All
6.2.2 | The Trading Interval variable fee is based on the Reference Trading Price for the relevant Trading Interval adjusted by the CPI, the Transmission Loss Factor applicable to the NCESS facility, and the increased injection or reduced withdrawal of electricity measured at the Meter (in MWh) for the relevant NCESS facility. | All
Total monthly fee
6.3.1 | The Monthly Fee for a Trading Month is the sum of the Monthly Fixed Fee, Monthly Variable Fee, and minus the value of the expected Capacity Credit Value. | All
Material contract terms
General
7.1.1 | All items identified in the NCESS Service Specification are material contract terms. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
No exclusivity
7.2.1 | The NCESS provider acknowledges and agrees that Western Power may engage any number of other contractors to provide services that are the same or materially equivalent to the Service during the Term. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
Liability of NCESS provider
7.3.1 | Separate liability caps will apply for Western Power and the NCESS provider. | All
7.3.2 | For Western Power: | All
7.3.2(a) | subject to paragraph 7.3.2(b) and other than in respect of any unpaid availability payment or activation payment amounts, Western Power’s liability is limited to the prescribed maximum amount for the purposes of section 126 of the Electricity Industry Act and regulation 52 of the WEM Regulations. | All
7.3.2(b) | Western Power is not liable for: (i) indirect damages or losses; (ii) loss of market, opportunity or profit (whether direct or indirect); or (iii) damages or losses to the extent that they arise from the NCESS provider’s failure to act in accordance with the NCESS Contract, a law (including the WEM Rules) or good electricity industry practice. | All
7.3.3 | For the NCESS provider: | All
7.3.3(a) | subject to paragraph 7.3.3(b), the total amount recoverable from the NCESS provider in respect of any and all claims arising out of any one or more events during the Contract Term with respect to, arising from, or in connection with, the NCESS Contract or the provision of the Service is limited to the lesser of the NCESS Contract value and $5 million. | All
7.3.3(b) | the NCESS provider is not liable for: (i) indirect damages or losses; (ii) loss of market, opportunity or profit (whether direct or indirect); or (iii) damages or losses to the extent that they arise from Western Power’s failure to act in accordance with the NCESS Contract, a law (including the WEM Rules) or good electricity industry practice. | All
Security
7.4.1 | For a Registered Facility or Unregistered Equipment that is yet to enter service (or re-enter services after an upgrade), the relevant NCESS provider must ensure that Western Power holds the benefit of a security that is specified in paragraph 7.4.2 for the amount specified in paragraph 7.4.3. | All
7.4.2 | 7.4.2 The security must be an obligation in writing that: (a) is from a Security Provider; (b) is a guarantee or bank undertaking in a form prescribed by Western Power; (c) is duly executed by the Service Provider and delivered unconditionally to Western Power; (d) constituted valid and binding unsubordinated obligations of the Security Provider to pay to Western Power amounts in accordance with its terms; (e) permits drawing or claims by Western Power up to a stated amount; (f) has an effective date on or before the date specified in the NCESS Contract, which must be before the dates specified in paragraphs 3.4.1 and 4.4.1; (g) has an expiry date on or following a date specified in the NCESS Contract, which must be following the dates specified in paragraphs 3.4.2 and 4.4.2. | All
7.4.3 | The amount of security required to be provided is equal to 20% of the NCESS Contract value. | All
7.4.4 | Western Power will return the security to the NCESS provider as soon as practicable following the later of: (a) the end date of the Reliability Service; (b) the end date of the System Strength Service; (c) when all services under the NCESS Contract are completed in accordance with the NCESS Contract; or (d) when all sums of money owed by the NCESS provider to Western Power under the NCESS Contract have been paid in full. | All
7.4.5 | Western Power may have full recourse to the whole or part of the security when Western Power makes a bona fide claim that it is owed any amount by the NCESS provider under the NCESS Contract and has not been paid that amount by the NCESS provider by its due date. | All
Participation in AEMO's trading mechanisms
9.1.1 | When the Services are not called under Western Power's NCESS Contract, the NCESS providers may offer their capabilities into the WEM by participating in the WEM for energy, Essential System Services and Reserve Capacity - in accordance with the WEM Rules. | All
9.1.2 | Any facility and/or equipment with a System Size greater than 10 MW will be required to be registered in accordance with the WEM Rules as a Scheduled Facility or Semi-Scheduled Facility. | All
9.1.3 | NCESS providers capable of receiving Certified Reserve Capacity Credits will be required to apply for certification for each relevant Capacity Year during the Contract Term in accordance with clause 5.2A.2 of the WEM Rules. | All
9.1.4 | In instances where the registered NCESS provider participates in the WEM , the offered capabilities will be called upon by AEMO in accordance with the WEM Rules. | All
9.1.5 | Note that when registered NCESS providers are called upon under Western Power's NCESS Contract, they will be dispatched by AEMO, with the agreed requirements reflected in the relevant NCESS Contract. | All

## Pricing
Duration of contract | Service Type | Item | Compliant Price ($AUD) | Alternative Offers ($AUD) | Comments on basis of pricing arrangement, including alternative timeframes where applicable. (Optional)
5-year | Reliability | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
5-year | Reliability | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
5-year | Reliability | Alternative offer | NA | Respondents to list specifics of any alternative offer
5-year | System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
5-year | System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
5-year | System Strength | Alternative offer | NA | Respondents to list specifics of any alternative offer
5-year | Reliability and System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
5-year | Reliability and System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
5-year | Reliability and System Strength | Alternative offer | NA | Respondents to list specifics of any alternative offer
10-year | Reliability | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
10-year | Reliability | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
10-year | Reliability | Alternative offer | NA | Respondents to list specifics of any alternative offer
10-year | System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
10-year | System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
10-year | System Strength | Alternative offer | NA | Respondents to list specifics of any alternative offer
10-year | Reliability and System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability. | Payable in all Availability Intervals subject to Facility Availability.
10-year | Reliability and System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation. | Payable in all Trading Intervals subject to Facility Activation.
10-year | Reliability and System Strength | Alternative offer | NA | Respondents to list specifics of any alternative offer