## Notes
Investments Summary For Western Power Network Opportunity Map 2024
This workbook contains investment summaries required for the Western Power Network Opportunity Map (NOM2024) and should be read in conjunction with the report document
www.westernpower.com.au/network-opportunity-map
Western Power’s Network Opportunity Map 2024 (NOM2024) is prepared and made available solely for information purposes. Whilst reasonable effort has been made to ensure the quality of the information in this publication, Western Power accepts no responsibility or liability for any loss or damage that may be incurred by a person acting in reliance on this information or assumptions drawn from it. This publication contains certain predictions, estimates, and statements that are made on various assumptions. The assumptions may or may not prove correct, and they may change over time. Anyone proposing to use the information in this publication should independently verify the accuracy, completeness, reliability, currency, and suitability for purpose, and obtain independent and specific advice from appropriate experts.
Western Power makes no representation or warranty, express or implied, as to the accuracy, reliability, completeness, currency, or suitability for purpose of the information, representations, or statements in this publication. Persons reading or utilising this document acknowledge that Western Power and their employees, agents and consultants are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information or other matters (expressed or implied) arising out of, contained in or derived from, or for any omissions from, the information in this document, except insofar as liability under any Western Australian or Commonwealth statute cannot be excluded.
The information contained in the NOM2024 is subject to annual review. Western Power is obligated to publish future editions by 1 October each year, in accordance with the Electricity Network Access Code 2004 and changes made in September 2020.

## Transmission Opportunities 2024
Summary of Proposed Network Augmentations 2024
Unique ID | Investment Name | Scope/Issue | Investment Benefit | Estimated Capital Cost ($M) +/- 50% | Required by Date (subject to change) | Augmentation Deferral Value ($M pa)
TX1 | Capel Install 132-22kV 33MVA Transformer | A staged replacement of exisiting old transformers with on 132-66/22kV, 33 MVA | Address the degraded condition of the asset and accommodate increasing demand. | 15 | 2026/27 | 1.599
Tx2 | Albany - Asset Condition/Growth Thermal | A staged replacement of both 132/22 kV, 33 MVA transformers (T1 & T3) | Address the degraded condition of the asset and accommodate increasing demand. | 33 | 2026/27 | 3.5178
TX3 | Resolve Substation Capacity Shortfall Bibra Lake | To support the load growth in Bibra Lake | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2026/27 | 1.599
TX4 | Dynamic UFLS Management system | Installation of a dynamic UFLS management system. | A dynamic UFLS management system is a control system that is designed to automatically manage and optimise the portfolio of available UFLS load shedding reserves in accordance with the current UFLS design requirements. | 0.16 | 2026/27 | n/a
TX5 | Maddington Install Second Transformer | To support the load growth in Maddington | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2027/28 | 1.599
TX6 | Resolve Substation Capacity Shortfall Bunbury Harbour | To support the load growth in Bunbury Harbour | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2027/28 | 1.599
TX7 | Picton South Transmission Reinforcement – Stage 1 & 2 | A staged 132 kV voltage conversion of the existing 66 kV supplies between Picton-Capel-Busselton. | Reduce the demand supplied in the Picton South area during peak demand conditions to potentially reduce or defer network augmentation to increase the power transfer capacity to the area. | 50 | 2028/29 | 5.33
TX8 | Mandurah and Meadow Springs - Transformer thermal overloads | Establishment of a new Baldivis Zone Substation | Address existing substation capacity shortfall at Medaow Springs and Waikki and accommodating increase in demand in the area. | 60 | 2028/29 | 6.396
TX9 | Joondalup Substation: Additional transformer | Installation of a third 132/22 kV 33 MVA transformers at Joondalup Substation. | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 12 | 2028/29 | 1.2792
TX10 | Wangara Install Second Transformer | Installation of a second 132/22 kV,33 MVA transformer at Wangara substation to support local load growth and Landsdale. | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2028/29 | 1.599
TX11 | Establish New Zone substation Support Byford and Southern River | Establishment of a new Zone Substation in a suitable location to support Byford and Southern river load growth | Address existing substation capacity shortfall at Byford and Southern River and accommodating increase in demand in the area. | 60 | 2028/29 | 6.396
TX12 | Resolve Substation Capacity Shortfall at Hazelmere | To support the load growth in Hazelmere | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2028/29 | 1.599
TX13 | Resolve Substation Capacity Shortfall at Moora | To support the load growth in Moora | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2028/29 | 1.599
TX14 | Resolve Substation Capacity Shortfall Wembley Downs | To support the load growth in Wembley Downs | To reduce demand in the area to eliminate, reduce or defer the need for additional transformer capacity. | 15 | 2028/29 | 1.599
TX15 | To be initiated, Minimum Demand | Yet to be quantified | To reduce a number of impacts that arise during periods of low operational demand, an opportunity exists to increase or shift demand patterns during the daytime periods (10AM to 3PM) when the rooftop PV output is at high. The opportunity is available throughout the year but is greater in the high-risk spring and autumn periods. | N/A | Across the study period | N/A
TX16 | Eastern Goldfields Non-Co-optimised Essential System Services | A NCESS Contract for upto 150MW of reliability and system strength services to call upon standby generation in the Eastern Goldfields upon the loss of the single 220kV circuit. | Over the longer-term, reduce demand in the area to eliminate, reduce and defer the need for a new 330 kV circuit from Muja to West Kalgoorlie Terminal. | TBA | 2026/27 | TBA

## Distribution Opportunities 2024
Summary of Proposed Network Augmentations 2024
Unique ID | Investment Name | Scope/Issue | Investment Driver, Purpose and Benefits | Estimated Capital Cost ($M) +/- 50% | Required Completion Date | Augmentation Deferral Value ($M pa)
DX1 | Voltage Unbalance and Excursions | Analysing load measurements and system modelling to determine a solution to resolve the voltage unbalance and excursions | Resolve the voltage unbalance and excursions on the Distribution HV and LV networks. | 3.8692 | 2025-06-01 | 0.41245
DX2 | Trial: Distribution Transformer Monitoring and Community Battery Optimisation | Retrofitting of a measuring device at the distribution transformer. Then installation of a comms link from distribution transformer to associated community battery | To demonstrate the use of a monitoring device to use real time data to control a community battery to maximise DER benefits and optimise the local network. | 2.0097 | 2028-06-01 | 0.21423
DX3 | Mitigage Distribution Transformer Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Distribution Transformers. | 18.8393 | 2025-06-01 | 2.0083
DX4 | Bremer Bay Power Station: Alternaive Solution Investitagion | To find an alternative solution, to existing Network Service Agreement (NSA) by a non-network solution or similar at Bremer Bay | The solution to target improvement to network reliability and network performance. Supplied from Albany Substation (ALB 514 WILLYUNG) | 1.1527 | 2028-06-01 | 0.12288
DX5 | Bremer Bay Power Station: Stg 2 Augmentation | The scope is to carry out a system study for the reactive power control and earthing issue at Bremer Bay. Mitigate excessive reverse reactive power to Bremer Bay power station. | To reduce the reactive power of the network in Bremer Bay and mitigate high earth current on the star-winding of the power transformer. | 0.034314 | 2026-06-01 | 0.0036579
DX6 | Ravensthorpe Power Station: Alternative Solution Investigation | To find an alternative solution, to existing Network Control Services (NCS) contract, by a service provider for a non-network solution such as a Microgrid arrangement or similar at Ravensthorpe | To provide capacity for daily peak lopping and improve reliability performance of the area around Ravensthorpe supplied from Katanning Substation (KAT 509 GNOWANGERUP). | 1.3289 | 2027-06-01 | 0.14166
DX7 | SWIS: Mitigate Radial MV Feeder Security | Scope is to provide significant number of customers on a radial connection with an interconnection option for quicker power restoration | To improve reliability for customers by providing interconnected supply in turn reducing restoration durations. | 2.3418 | 2025-06-01 | 0.24964
DX8 | Kalbarri Micro Grid Enhancement: Stage 2 | Integrate automated diesel generators to supplement limited BESS duration | To improve reliability for customers by improving duration Kalbarri Micro Grid can be sustained disconnected from SWIN. Supplied from Geraldton Substation (GTN 646 KALBARRI) | 8.4355 | 2027-06-01 | 0.89922
DX9 | Morley Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Morley (MO) substation feeders. | 19.3325 | 2026-11-01 | 2.0608
DX10 | North Perth Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for North Perth (NP) substation feeders. | 19.3325 | 2026-11-01 | 2.0608
DX11 | Landsdale Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Lansdale (LDE) substation feeders. | 19.3325 | 2026-11-01 | 2.0608
DX12 | Arkana Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Arkana (A) substation feeders. | 19.6252 | 2027-11-01 | 2.092
DX13 | Wangara Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Wangara (WGA) substation feeders. | 19.6252 | 2027-11-01 | 2.092
DX14 | Wanneroo Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Wanneroo (WNO) substation feeders. | 19.6252 | 2027-11-01 | 2.092
DX15 | Riverton Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Riverton (RTN) substation feeders. | 19.7915 | 2028-11-01 | 2.1098
DX16 | Joel Terrace Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Joel Terrace (JTE) substation feeders. | 19.7915 | 2028-11-01 | 2.1098
DX17 | Manning Street Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Manning Street (MA) substation feeders. | 19.7915 | 2028-11-01 | 2.1098
DX18 | Muchea Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Muchea (MUC) substation feeders. | 20.124 | 2029-11-01 | 2.1452
DX19 | Trial: Disconnected Micro Grids | Install Disconnected Micro Grid at locations where reliability performance impacted by ongoing outages on mature long supply lines | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 4.9853 | TBD | 0.53144
DX20 | SPS deployments for customers impacted by continual long duration outages | Install Stand-Alone Power Systems at locations where reliability performance impacted by ongoing outages on long supply lines | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 2.2276 | 2028-06-01 | 0.23746
DX21 | ALBANY Substation (ALB): DENMARK feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX22 | KATANNING Substation (KAT): GNOWANGERUP feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX23 | REGANS Substation (RGN): LANCELIN feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX24 | ENEABBA Substation (ENB): JURIEN feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX25 | GERALDTON Substation (GTN): NARNGULU WEST feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX26 | GERALDTON Substation (GTN): NORTHAMPTON feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX27 | ALBANY Substation (ALB): LOWER DENMARK feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX28 | NORTHAM Substation (NOR): YORK feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX29 | MOORA Substation (MOR): WONGAN HILLS SOUTH feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX30 | GERALDTON Substation (GTN): KALBARRI feeder reliability improvement | Identify opportunities to improve reliability performance and analyses any non-network solutions from the market | To address network risk posed by overhead assets to improve reliability, reduced bush fire safety risks, alignment with decarbonisation and modular network strategy. | 1.7821 | 2027-06-01 | 0.18997
DX31 | Busselton Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Busselton (BSN) substation feeders. | 19.3325 | 2026-11-01 | 2.0608
DX32 | Albany Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Albany (ALB) substation feeders. | 19.6252 | 2027-11-01 | 2.092
DX33 | Wagerup Substation: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Wagerup (WGP) substation feeders. | 19.7915 | 2028-11-01 | 2.1098
DX34 | Morley 338F: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Morley 338F feeder. | TBD | 2026-11-01
DX35 | Morley 337F: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Morley 337F feeder. | TBD | 2026-11-01
DX36 | Hadfields 514: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Hadfields 514 feeder. | TBD | TBD
DX37 | North Beach 519: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for North Beach 519 feeder. | TBD | TBD
DX38 | North Beach 520: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for North Beach 520 feeder. | TBD | TBD
DX39 | Rockingham 515: Mitigate Distribution Feeder Loading | Identify network switching opportunities and analyse any non-network solutions from the market | Mitigate future over-utilisation issue for Rockingham feeder. | TBD | TBD