## Instructions
Instructions
Respondents are requested to populate the following tabs in this spreadsheet:
Response (as required by clause 3.11B.7 of the WEM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised blue text is provided to guide participants as to the expected content where relevant.
Western Power is interested in exploring enhanced participation, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities. This may be indicated as an alternate offer.
Service Specification (as required by clause 3.11B.9(a)ii of the WEM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
The Service Specification tab includes all paragraphs in the provided Service Specification except sections:
|  |  | 1 | Introduction
|  |  | 6 | Payment Structure
|  |  | 7 | Material contract terms
|  |  | 8 | Selection Criteria
|  |  | 9 | WEM participation and registration
Respondents should provide:
• Compliance indication (Y/N) to demonstrate where the respondent is able to comply with the Service Specification
- Please indicate N/A where the paragraph does not apply to the type of technology or equipment
• Quantity (as relevant) to indicate the quantity offered
• Details, to indicate further information relevant to the submission
• Supporting Documents, to reference any supporting documentation provided by the respondent in their response
Pricing (as required by clause 3.11B.9(a)iii of the WEM Rules)
Respondents must respond using the green highlighted cells and not in an external document. You can also supply further documentations to support this response.
Italicised text is provided to guide participants as to the expected content where relevant.
Western Power requests pricing information for two separate contract durations: 5, and 10 years. Alternative offer could include shorter number of service years, please provide details in the comments section.
Submission
Responses must be submitted to Western Power using the online collection form.
by 5:00pm AWST on Monday 5 August 2024. Extension cannot be considered.
To be valid, responses must include:
The populated NCESS Submission form - Eastern Goldfields (.xlsx)
Any supporting documentation
How to indicate compliance
Clause 3.11B.10(a) of the WEM Rules requires Western Power to exclude NCESS Submissions that do not comply with the NCESS Service Specification. Western Power assesses this requirement using responses in the NCESS Submission Form - and must exclude any submission which indicates that the NCESS Service Specification cannot be complied with. Western Power has indicated the portions of the NCESS Specification that require an indication of compliance. Note that several parts of the NCESS Service Specification allow Western Power to agree variations. In the NCESS Submission Form under 'compliance', where indicated that a response is required for your project: a) If your project complies with the requirement, indicate 'yes'. b) If your project is unable to comply with the stated requirements, but the requirement allows Western Power to agree a variation, indicate 'yes' and provide additional comments.

## Response
Item | Clause | Request | Response | Guidance Notes
1 | 3.11B.7(a) | The name and type of facility or equipment, and whether it is registered or intending to register under the WEM Rules
2 | 3.11B.7(b) | The name of the Market Participant, or service provider, as applicable, in respect to the facility or equipment
3 | 3.11B.7(c) | The quantity of service the facility or equipment will provide for the NCESS |  | Respondents should nominate the quantity of service for which they expect to be capable of providing in accordance with the Service Specification. A prospective NCESS provider may offer either a reliability service or a system strength service, or both, that can fully or partially meet the relevant service requirements.
4 | 3.11B.7(d) | The timing and duration of the service availability for the NCESS |  | Respondents should identify any limits that may apply to their Facility in complying with the period specified in the Service Specification.
5 | 3.11B.7(e) | The location of the facility or equipment on the network
6 | 3.11B.7(f) | Any operational requirements or limitations that must be respected for use of the facility or equipment for the NCESS
7 | 3.11B.7(g) | Where the NCESS Submission is made in respect to a type of technology that would ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it will be able to meet the relevant requirements in clause 4.10.1 for at least the first Reserve Capacity Cycle coinciding with the period of the NCESS Contract. |  | Whether the Market Participant or service provider, as applicable, intends to participate in the next available Reserve Capacity Cycle; and if so, relevant information on steps taken in preparation for that application.
8 | 3.11B.7(gA) | Where the NCESS Submission is made in respect to a type of technology that would not ordinarily be capable of being assigned Certified Reserve Capacity, the information required to be provided by the Market Participant or service provider to demonstrate that it is not able to meet the relevant requirements of clause 4.10.1.
9 | 3.11B.7(h) | Whether the facility or equipment participates, or will participate, in Central Dispatch or is accredited or will be accredited under these Market Rules to provide an Essential System Service
10 | 3.11B.7(i) | the fixed costs for that facility or equipment applicable for the period of the NCESS Contract, including any Capacity Credit payments expected or received |  | Respondents should provide a price per year to be available in accordance with the Service Specification
11 | 3.11B.7(iA) | If the facility or equipment would ordinarily be capable of being assigned Certified Reserve Capacity, whether the Market Participant, or service provider, would require any reimbursement of any Capacity Cost Refunds it must pay as a direct consequence of the enablement or dispatch of the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
12 | 3.11B.7(j) | The highest price at which the facility or equipment will provide the NCESS when enabled or dispatched
13 | 3.11B.7(k) | Any other payment that the facility or equipment requires to provide the NCESS |  | Western Power expects respondents to include all costs in items 10 and 12.
14 | N/A | Evidence to support NCESS delivery dates |  | Clause 3.11B.10(b)i. of the WEM Rules requires Western Power to exclude NCESS Submissions that provide insufficient evidence to support NCESS delivery dates. Please provide details for project delivery, key risks, including a Gantt chart or an equivalent representation, along with the milestones necessary to achieve commercial operations by 01 October 2026. However, Western Power is willing to consider services to be provided no later than 01 October 2027.
15 | N/A | Evidence to support Environmental Approvals |  | Respondents are required to provide evidence of approval for existing facilities. For new facilities or equipment, respondents must provide evidence that the Environmental Approvals will be granted prior to the NCESS Contract being executed. For this requirement to apply either the facility or equipment must not yet exist. If your project relates to existing facilities or loads, please indicate, that the requirement is not applicable. If the facility or equipment is new, please indicate, that your project complies with all required environmental approvals - and provide a statement, with documented evidence in a manner which easily allows Western Power to confirm the statement, indicating either that: a) approvals are not required; or b) approvals are required and have been granted.
16 | N/A | Project methodology |  | Respondents are required to provide the project methodologies that will be applied to manage the delivery of the proposed solution, ensuring it meets the requirements outlined in the Service Specification. Additionally, respondents are encouraged to showcase previous project methodologies used to fulfill obligations or similar projects related to the specified Service(s). Any references to names may be deleted to maintain confidentiality.
17 | N/A | Technical capabilities |  | Respondents need to provide details of technical capabilities to meet the requirements outlined in the Service Specification (if respondents have not provided the details in any other parts in this form). In addition, respondents are encouraged to offer other enhanced system benefits and system supporting capabilities.
18 | N/A | Western Australian Industry Participation Plan (WAIPS) |  | Respondents must complete the Full Participation Plan and attach it in this response.
19 | N/A | Regional Price Preferencing |  | To be eligible, respondents need to provide evidence that the business maintained a permanent operational office within 400 kilometers of the contract Point of Delivery, excluding the Perth Metropolitan Area.
20 | N/A | Cyber security |  | Respondents are required, where applicable, to adhere to the AESCSF when the NCESS provider or any of its subcontractors develops, accesses, transmits, processes, stores, or otherwise handles Western Power sensitive operational information or other sensitive data. Please provide information on the type of cybersecurity framework that will be used.
21 | N/A | Aboriginal participation |  | The Western Australian Government mandates that qualifying construction and maintenance contracts with value $5 million and above must meet one of two Aboriginal Participation targets. The Tenderer must choose either to subcontract 4% of the total contract value to registered Aboriginal businesses or engage a minimum of 5% of the contract labour force who are Aboriginal persons in each year of contract delivery. Please choose which target will apply for your proposal and outline in an attachment how you plan to achieve this target.

## Service Specification
Paragraph | Content | Facility or equipment applicable to | Complies (Y/N) | Quantity | Details | Supporting Documents
| Service requirements | All
2.1.1 | This NCESS Service Specification is for: a. A Reliability Service; and b. A System Strength Service. | All
2.1.2 | The Reliability Service (measured in MW of response capability) is to minimise power supply disruption during planned and unplanned network outage events impacting the EGF. The requirements are detailed in Section 3 of this Service Specification. | All
2.1.3 | The System Strength Service (measured in MVA of available fault level) is to maintain voltage stability, power quality obligations and sufficiently high fault levels for intact network conditions, or as a result of planned or unplanned outages. The requirements are detailed in Section 4 of this Service Specification. | All
2.1.4 | An NCESS provider may offer either a Reliability Service or a System Strength Service, or both, provided the relevant technical requirements of the Service Specification are met (for the maximum Service Quantity offered). | All
2.1.5 | The overall maximum Service Quantity Western Power is seeking for each Service (Reliability and System Strength) must consider redundancy of the single largest component, either: a. within a single facility (i.e. redundancy achieved at an individual site), or b. across several facilities (i.e. redundancy achieved when considering the collective capacity offered across multiple NCESS providers and/or locations) | All
2.1.6 | If a Service is not offered, the Service Quantity must be specified as 0. | All
Eligibility
2.2.1 | This NCESS procurement is open to new or existing facilities and/or equipment. | All
2.2.2 | NCESS providers may be currently registered as Market Participants or Service providers that are intending to register as Market Participants. Unregistered facilities may also be considered where specifically applicable. | All
2.2.3 | Western Power welcomes NCESS Submissions across a wide range of technology types that are able to meet the functional requirements of the Service Specification. | All
2.2.4 | No other relevant contractual or legal arrangement relating to the Service Quantity is expected to exist at any time during the Contract Term that may adversely affect Service delivery. For the avoidance of doubt, this includes any NCESS Contract for provision of a similar service during the Contract Term. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Service location | All
2.3.1 | Both Services are required to be connected to the SWIS within the EGF region in reasonable proximity to the existing WKT substation. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.3.2 | NCESS providers interested in discussing access to land in the EGF region are encouraged to contact Development WA. | All
| Expected commencement and duration of Service | All
2.4.1 | The expected commencement date for both Services is: a. 1 October 2026; or b. (where all conditions precedents are not satisfied by the date in paragraph 2.4.1 a) the date when all conditions precedent are satisfied, which date must be no later than 1 October 2027. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.4.2 | The expected end date for both Services is five (5) years from the commencement date in paragraph 2.4.1. | All
2.4.3 | The Contract Term may be extended for an additional five (5) years beyond the initial term in paragraph 2.4.2. | All
2.4.4 | The NCESS provider must ensure that by the date in paragraph 2.4.1 each Service has been issued: a. an Interim Approval to Generate Notification or an Approval to Generate Notification in accordance with the WEM Rules; or b. an Interim Approval to Operate or an Approval to Operate in accordance with the WEM Rules. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
2.4.5 | The NCESS provider must ensure that each Service is available for all tests necessary to ensure compliance with this Service Specification. | All | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Reliability Service | Relability Service
| Maximum Service Quantity | Relability Service
3.1.1 | The maximum quantity of the Reliability Service required (from all NCESS providers, collectively) is 150 MW. This may be provided by either a single provider or several different providers across multiple Services and/or locations. | Relability Service
3.1.2 | An individual NCESS Submission must specify a Service Quantity up to 150 MW. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MW)
3.1.3 | Western Power considers that an optimal Reliability Service would be provided by at least four independent units and/or facility of comparable capacity (20-40 MW range per unit and/or facility); however, any size up to the maximum Service Quantity will be considered, provided the technical requirements of the Service Specification are met). | Relability Service
| Expected Service utilisation | Relability Service
3.2.1 | Western Power requires NCESS providers to collectively provide coverage for an outage duration of up to four (4) weeks, in one or both of the following categories: | Relability Service
3.2.1(a) | Base load coverage: Operating continuously over the 4-week period (up to the NCESS provider’s specified maximum capability), with a maximum offering under this category of 150 MW. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MW)
3.2.1(b) | Peak demand coverage: Available for a minimum of 4 (continuous) hours between 12:00 pm and 6:00 pm each day over the 4-week period, with a maximum offering under this category of 25 MW. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MW)
3.2.2 | For the purposes of the peak demand category above, the following daily load profiles are indicative of the expected loading (noting actual profiles will vary): | Relability Service
3.2.2(a) | Figure 1: Typical peak period | Relability Service
3.2.2(b) | Figure 2: Typical shoulder period | Relability Service
3.2.3 | NCESS providers must provide evidence of the equipment’s capability to meet these utilisation requirements. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.4 | The Reliability Service may be called upon at any time at Western Power’s discretion (i.e. in response to an outage of the 220kV transmission line connecting the EGF with the SWIS, as well as for pre-emptive operator action to deliberately form an EGF island). | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.2.5 | The following figures indicate the expected Service utilisation based on historical data (noting these represent estimates only as to the projected frequency of outages): a. Planned Outage: 96 hours (5,088 MWh) per year b. Unplanned Outage: 23 hours (873 MWh) per year However, recognising the ‘high-impact, low-probability’ nature of contingency events in the EGF, the NCESS provider must make the Reliability Service available for Western Power to call upon at any time during the contracted period, within their specified availability parameters. | Relability Service
| Operational requirements / limitations | Relability Service
3.3.1 | The Reliability Service is required to provide capacity to supply customers in the EGF when there is a physical disconnection between the EGF transmission network and the rest of the SWIS (forming an EGF Island). In general, the EGF Island can be formed in one of two ways: | Relability Service
3.3.1(a) | In a planned manner – i.e. operational intervention (including pre-outage preparations) to reduce power transfer on the 220kV line between the EGF and the SWIS to zero, followed by deliberate disconnection of this line to form the EGF Island. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.3.1(b) | In an unplanned manner – i.e. following the loss of the 220kV line between the EGF and the SWIS (due to faults or any other unexpected triggers), resulting in the total loss of supply to the EGF region. A System Restart operational procedure may then be initiated to restore supply to the EGF region in a methodical fashion. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.3.2 | If a System Restart procedure is initiated (following the total loss of supply to the EGF), an NCESS provider may be called upon for one of the following functions: | Relability Service
3.3.2(a) | Primary startup function (i.e. the first unit to be energised, operating in isochronous mode with no load initially followed by the gradual restoration of power to loads that are essential to the subsequent System Restart steps). | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.3.2(b) | Secondary startup function (i.e. following the formation of the initial EGF Island with stable voltage & frequency, additional units will be called upon to provide further capacity to enable the staged restoration of all remaining loads within the EGF. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Expected technical capability | Relability Service
3.4.1 | Services offered must provide adequate redundancy for both primary equipment (units producing the MW/MVA quantity) and secondary equipment (such as protection, communications and auxiliary supplies). Note, per Section 2.1.5, redundancy for the maximum Service Quantity may be considered as a collective across multiple facilities (where applicable). | Relability Service
3.4.2 | If an NCESS provider is offering a demand side management service, the technical requirements of this Service Specification that relate exclusively to energy producing systems are not applicable. | Relability Service
3.4.3 | A NCESS provider must ensure their equipment is capable of the following: | Relability Service
3.4.3(a) | Synchronising and be capable of achieving its ramp rate of Injection or Withdrawal within 15 minutes of receiving a Dispatch Instruction from AEMO. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(b) | Complying with the terms of the NCESS provider connection agreement, including any obligation(s) to comply with the Technical Rules (TR) and/or WEM Rules. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(c) | Providing Active Power Capability that meets the required Service Quantity at local temperature conditions as specified in the TR or WEM Rules as applicable. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(d) | Providing stable operation under normal operating conditions and during isochronous operation. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(e) | Providing SCADA and duplicate protection / telecommunication systems to enable remote monitoring, emergency control (including remote resetting) and communication between AEMO, Western Power and the provider’s Service. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(f) | Allowing remote start functionality for all System Restart Services, such that they can be connected to a dead bus at full speed with no load within 15 minutes of AEMO issuing a System Restart Service start-up command. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(g) | Ability to operate in stable condition with no load to energise transmission and distribution networks as necessary. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
3.4.3(h) | Running the System Restart service automatically to supply the auxiliary system upon detecting a total loss of supply to enable the restart process. | Relability Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| System Strength Service | System Strength Service
| Maximum Service Quantity | System Strength Service
4.1.1 | The maximum quantity of the System Strength Service required (from all NCESS providers, collectively) is 1,500 MVA of three-phase fault level contribution measured at the WKT 220kV bus. This may be provided by either a single provider or several different providers across multiple Services and/or locations and be made of a minimum of two units. | System Strength Service
4.1.2 | An individual NCESS Submission must specify a Service Quantity of up to 1,500 MVA. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section. | Quantity of Service (MVA)
4.1.3 | The three-phase fault level contribution specified for this System Strength Service must account for the loss of the single largest unit within the EGF. | System Strength Service
| Expected Service utilisation | System Strength Service
4.2.1 | The System Strength Service is required to be available to operate under all system conditions, as directed by AEMO. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.2.2 | Service Providers of the System Strength Service must provide evidence of the equipment's capability to meet utilisation requirements. | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Operational requirements / limitations | System Strength Service
4.3.1 | There are no specific operational requirements / limitations associated with the System Strength Service (i.e. can be called upon under any system conditions). | System Strength Service
| Expected technical capability | System Strength Service
4.4.1 | The System Strength Service is measured as fault level contribution (in MVA) measured at the WKT 220 kV bus, for the purposes of, but not limited to: | System Strength Service
4.4.1(a) | Maintaining voltage stability (avoid excessive step-change disturbances). | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.4.1(b) | Increasing fault levels in weak parts of the network; in turn, ensuring protection equipment operates correctly (adequate clearance times and appropriate coordination). | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
4.4.1(c) | Avoiding unstable operation of inverter-based resources and generator control systems (alleviating risk of unstable operation, power oscillations, etc.). | System Strength Service | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| General technical requirements | All Services
5.1.1 | Notwithstanding the specific Reliability and System Strength Service requirements (detailed in Sections 3 and 4 respectively), the following section outlines general requirements that all NCESS equipment must demonstrate compliance with. | All Services
Electrical requirements
5.2.1 | All NCESS Submissions must comply with all relevant technical compliance standards, including but not limited to: | All Services
5.2.1(a) | WEM Rules: https://www.wa.gov.au/government/document-collections/wholesale-electricity-market-rules | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.2.1(b) | Network Quality and Reliability of Supply Code: https://www.legislation.wa.gov.au/legislation/statutes.nsf/main_mrtitle_1349_homepage.html | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.2.1(c) | Western Power's Technical Rules: https://www.westernpower.com.au/resources-education/manuals-guides-standards/technical-rules/ | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.2.1(d) | Generator and Load Model Guidelines: https://www.westernpower.com.au/resources-education/manuals-guides-standards/ | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Maintenance | All Services
5.3.1 | The NCESS provider must: a. maintain the Service equipment in accordance with good electricity industry practice; and b. notify and coordinate outages with Western Power as soon as the NCESS provider becomes aware of any requirement for planned or unplanned maintenance that affects, or could reasonably be expected to affect, the ability of the equipment to provide the Service Quantity. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.3.2 | The NCESS provider must plan maintenance in accordance with clause 3.18 of the WEM Rules. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.3.3 | The technician/expert is to be on site at the NCESS equipment location within 12 hours of a call out. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.3.4 | The NCESS provider must supply Western Power with their asset management strategy. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Electrical protection | All Services
5.4.1 | The NCESS provider must ensure that each of the Services supplied have the appropriate sensors and protection systems installed to comply with relevant sections of the TR, in particular Section 3.3.3.8 and 3.5. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.4.2 | The exact protection arrangement is subject to discussion and finalisation with Western Power prior to the completion of the design phase. | All Services
| Documents / drawings required | All Services
5.5.1 | The NCESS provider must provide all document and drawings required by Western Power during the connection of the facility to meet typical project phases/milestones, including but not limited to: a. Specification sheets for all Services offered in the NCESS Submission. b. General arrangement and schematic diagrams for the Service. c. An adequate and accurate computer model of each Service. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Monitoring and control system requirements | All Services
5.6.1 | The NCESS provider must ensure compliance to relevant sections of the TR which mandate reliable SCADA and telecommunication system to enable remote monitoring, communication, and emergency control (in particular, clause 3.3.4) or comply with the requirements of Chapter 3A and Appendix 12 of the WEM Rules (or prevailing standards at the time of connection). | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Communication system | All Services
5.7.1 | The NCESS provider must ensure that the NCESS SCADA system offered provides: a. Western Power with a 24-hour online monitoring system via a reliable telecommunication system to all generators; and b. At least two (2) independent telecommunication systems between Western Power and the NCESS provider to communicate with Western Power’s systems. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
| Availability | All Services
5.8.1 | A minimum availability of 95% is required. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.2 | The NCESS provider must notify Western Power promptly after changing or modifying the Service and/or equipment in a way that reduces or could reasonably be expected to reduce the availability of the Service. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.3 | Western Power may require the NCESS provider (at the NCESS provider's cost) to conduct a test of the Service and/or equipment (in its changed or modified configuration) to demonstrate that the Service complies with applicable standards. | All Services
5.8.4 | The NCESS provider must take remedial action in the event of Service unavailability. | All Services | An indication of compliance is required. If the content applies to your project, indicate Y or N. If the content does not apply to your project indicate N/A. For N or N/A please provide comments in the Feedback section.
5.8.5 | In the event the Service is unavailable, there will be a reduction in payments by Western Power depending on the duration of the unavailability. | All Services

## Pricing
Proposed Duration(s) | Service Type | Item | Compliant Price ($AUD) | Intention to be registered for capacity credits during contract term - yes/no | Comments on basis of pricing arrangement, including alternative timeframes where applicable. (Optional)
5-year | Reliability | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
5-year | Reliability | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
5-year | System Strength | Fixed Payment ($/MVa/year) | Payable in all Availability Intervals subject to Facility Availability.
5-year | System Strength | Variable Payment ($/MVa) | Payable in all Trading Intervals subject to Facility Activation.
5-year | Reliability and System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
5-year | Reliability and System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
10-year | Reliability | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
10-year | Reliability | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
10-year | System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
10-year | System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
10-year | Reliability and System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
10-year | Reliability and System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
Alternative less than 5-year | Reliability | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
Alternative less than 5-year | Reliability | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
Alternative less than 5-year | System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
Alternative less than 5-year | System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.
Alternative less than 5-year | Reliability and System Strength | Fixed Payment ($/MW/year) | Payable in all Availability Intervals subject to Facility Availability.
Alternative less than 5-year | Reliability and System Strength | Variable Payment ($/MWh) | Payable in all Trading Intervals subject to Facility Activation.